United Nations Development Programme

Country: Barbados

PROJECT DOCUMENT

| Project Title: | Disaster Risk & Energy Access Management (DREAM): Promoting Solar Photovoltaic Systems in Public Buildings for Clean Energy Access, Increased Climate Resilience and Disaster Risk Management |
| --- | --- |
| UNDAF Outcome(s): |  |
| UNDP Strategic Plan Environment and Sustainable Development Primary Outcome: Strengthened national capacities to mainstream environment and energy concerns into national development plans and implementation systems |  |
| Expected CP Outcome(s): Outcome 3. Energy and Environment: Improved environmental sustainability of development processes |  |
| Expected CPAP Output(s): |  |
| Executing Entity: Office of the Prime Minister (OPM) Implementing Entity: Division of Energy and Telecommunications (DoET) |  |
| Total resources required $ 32,626,484 Total allocated resources: $ 32,626,484 - GEF $ 1,726,484 - DoET $ 30,500,000 - UNDP $ 400,000 Total: $ 32,626,484 Programme Period: 2014 - 2017 Atlas Award ID: 00082952 Project ID: 00091628 PIMS # 5186 Start date: 1 July 2015 End Date 30 June 2018 Management Arrangements NIM PAC Meeting Date tbd Brief Description The objective of the Project is to reduce GHG emissions from fossil fuel-based power generation by demonstrating the exploitation of renewable energy resources for electricity generation in Barbados. To achieve this objective and strengthen the country’s Disaster Risk Response (DRR), the Project will promote decentralized solar photo-voltaic electricity generation in Barbados at community development centers and poly-clinics throughout the country. Project activities will include (i) the strengthening of the country’s renewable energy policy framework including a grid stability analysis and assistance in the strategic planning of RE investments; (ii) increasing the awareness and capacities of appropriate institutions and individuals to support RE developments in Barbados; and (iii) installations of solar-PV demonstration projects at community development centers, poly-clinics and schools. The lessons learned from the demonstration projects will be utilized to scale-up investments for other solar-PV and RE installations in the public and private sector, all aimed at achieving a greater share of RE in the energy mix of Barbados. |  |

Agreed by (Government):

Date/Month/Year

Agreed by (Executing Entity/Implementing Partner):

Date/Month/Year

Agreed by (UNDP):

Date/Month/Year

Table of Contents

Acronyms	3

Situation analysis	6

Context and Global Significance	6

Root Causes and Threats	10

Barrier Analysis	11

Stakeholder Analysis	13

Baseline Analysis	15

STRATEGY	24

Project Rationale and Policy Conformity	24

Country Ownership: Country Eligibility	25

Country Drivenness	25

Alternative GEF Scenario	25

Project Objective, Outcomes and Output/Activities	27

Key Indicators and Risks	37

Cost Effectiveness	39

Sustainability and Replicability	39

project results framework	41

total budget and work plan	44

MANAGEMENT ARRANGEMENTS	47

Project Organization Structure	47

General	48

MONITORING FRAMEWORK AND EVALUATION	50

LEGAL CONTEXT	54

Annex I:   Risk Analysis	56

Annex II:   Detailed CO2 Calculations and Assumptions	59

Annex III: Grid Stability Study	64

Annex IV: Preliminary Locations of Community and Resource Centers for 2.5 kWp Solar PV Installations	72

Annex V:   Co-Financing Letters	73

Annex VI:   Terms of Reference for Project Staff and Consultants	74

Annex VIII: Summary of Ongoing Energy Conservation and Renewable Energy Projects in Barbados	80

Annex IX:   UNDP-GEF Environmental and Social Screening Procedure (ESSP)	82

# Acronyms

| Acronym | Meaning |
| --- | --- |
| AA | Administrative Assistant |
| APR | Annual Progress Report |
| BAU | Business-as-usual |
| BL&P | Barbados Light & Power Company |
| BNSI | Barbados National Standard Institute |
| CARICOM | Caribbean Community Secretariat |
| CCCCC | CARICOM’s Climate Change Center |
| CEIS | Caribbean Energy Information System |
| CHENACT | Caribbean Hotel Energy Efficiency Action Program |
| CHENACT-AP | CHENACT Action-Advanced Programme |
| CPAP | Country Programme Action Plan |
| CRECS | Caribbean Renewable Energy Capacity Support |
| CREDP | Caribbean Renewable Energy Development Programme |
| CTA | Chief Technical Advisor |
| DEM | Department of Emergency Management |
| DoET | Division of Energy and Telecommunications (under the Office of the Prime Minister) |
| EC | Eastern Caribbean |
| ECERA | Eastern Caribbean Energy Regulatory Authority |
| ECRE | Energy Conservation and Renewable Energy Unit under DoET |
| EDF | European Development Fund |
| EE | Energy Efficiency |
| EIAs | Environmental Impact Assessments |
| ELPA | Electric Light and Power act |
| EOP | End of Project |
| EPSS | Electric power supply systems |
| ESA | Electricity Supply Act |
| ESIA | Environmental and social impact assessment |
| EU | European Union |
| EV | Electric vehicle |
| EWH | Electric water heaters |
| FIT | Feed-in tariff |
| FTC | Fair Trading Commission |
| FY | Fiscal year |
| GDP | Gross Domestic Product |
| GEED | Government Electrical Engineering Department |
| GEF | Global Environment Facility |
| GHG | Greenhouse Gases |
| GHI | Global horizontal irradiance |
| GIZ | German Agency for International Cooperation |
| GoB | Government of Barbados |
| GJ | Gigajoules |
| GWh | Gigawatt-hour |
| HEV | Hybrid-electric vehicle |
| IDB | Inter-American Development Bank |
| IEA | International Energy Agency |
| INC | Initial National Communication |
| IPP | Independent power producers |
| IRENA | International Renewable Energy Agency |
| kWh | Kilowatt hours |
| LAC | Latin American Caribbean Regional Center |
| LoI | Letter of intent |
| LV | Low voltage |
| MDG | Millennium Development Goals |
| M&E | Monitoring and Evaluation |
| MJ | Megajoules |
| MoESTI | Ministry of Education, Science, Technology and Innovation |
| MoEWRD | Ministry of Environment, Water Resources and Drainage |
| MoH | Ministry of Health |
| MoSCCECD | Ministry of Social Care, Constituency Empowerment and Community Development |
| MW | Megawatt |
| MWh | Megawatt - hour |
| MV | Medium voltage |
| NAMA | Nationally appropriate mitigation actions |
| NEP | National Energy Policy |
| NGOs | Non-Government Organizations |
| NPD | National Project Director |
| NPM | National Project Manager |
| NREL | National Renewable Energy Laboratory |
| NSEP | National Sustainable Energy Plan |
| OECS | Organization of Eastern Caribbean States |
| OPM | Office of the Prime Minister |
| OLTC | On-load tap changers |
| PBL | Programmatic Energy Policy-Based Loan |
| PIR | Project Implementation Report |
| PMU | Project Management Unit |
| PPA | Power purchase agreement |
| PPP | Public private partnership |
| ProDoc | UNDP Project Document |
| PSC | Project Steering Committee |
| PSECP | Public Sector Energy Conservation Programme |
| PSSEP | Public Sector Smart Energy Programme |
| PV | Photovoltaic |
| RE | Renewable energy |
| RER | Renewable Energy Rider (under BL&P) |
| RET | Renewable energy technology |
| RO | Reverse osmosis |
| SEFB | Sustainable Energy Framework Barbados |
| SIDS-DOCK | Small Island Developing States – Island Energy for Island Life |
| SNC | Second National Communication |
| SPACC | Special Project on Adaptation to Climate Change |
| SWH | Solar water heaters |
| TJ | Tera joules |
| TOE | Tons of oil equivalent |
| ToR | Terms of Reference |
| UNDP | United Nations Development Programme |
| UNDAF | United Nations Development Assistance Framework |
| UNEP | United Nations Environment Programme |
| UNFCCC | United Nations Framework Convention on Climate Change |
| VRE | Variable renewable energy |
| WTE | Waste-to-energy |

- Currency Equivalents

| Currency Unit | = | Barbados Dollar (BBD) |
| --- | --- | --- |
| 1 USD | = | BBD 2.00 |

# Situation analysis

## Context and Global Significance

- Countries in the Caribbean region are heavily dependent on imported fossil fuels for their energy supplies with petroleum products accounting for an estimated 93% of commercial energy consumption including conventional methods of electricity production through fossil fuel plants.  This serves as a primary source of greenhouse gas (GHG) emissions. Despite the Caribbean’s substantial renewable energy (RE) resource, RE exploitation lags far below potential, due to policy, financing, capacity and awareness barriers.  At the same time, the expansion of electricity generation is a key aspect to economic development in the Caribbean countries.

- Caribbean countries are also highly vulnerable to global oil price volatility; when oil prices rise, a commensurately larger allocation of national budgets needs to be diverted to pay for these fuel imports.  This has a detrimental impact on foreign currency reserves, balance of payments and availability of budgetary resources for social sectors such as health, education and national security.  Energy security as related to affordability and reliability of supplies is therefore a real concern for most Caribbean countries.

- Moreover, owing to the geography, small market size, the absence of inter-state inter-connections (as illustrated in Figure 1), and the fact that electricity generation is largely characterized by inefficient diesel combustion, electricity tariffs in many Caribbean countries are among the highest in the world.  With the importance of energy as a critical input into virtually all sectors of any economy, the current energy scenario of most Caribbean countries directly undermines efforts to improve their economic competitiveness and ability to fully integrate in the global economy. Moreover, their over-dependence on imported petroleum and petroleum products within Caribbean Community Secretariat (CARICOM) member states is unsustainable, especially considering the forecasts of regional energy demand doubling over the next 20 years.

- In response, several CARICOM member states have sought to catalyze and accelerate the development of indigenous energy resources, increased use of renewable energy as well as energy efficiency and conservation.  Many Caribbean countries that are endowed with various indigenous sources of renewable energy, particularly wind, solar, hydro, geothermal and bio fuels.  A number of CARICOM countries have embarked on the process of elaborating their national energy policies (such as Jamaica, St Lucia, St Vincent and the Grenadines, and Grenada having approved national energy policies) to exploit renewable energy resources and increase the contribution of energy efficiency as priorities. This has resulted in notable RE developments within CARICOM member states including solar thermal for water heating in Barbados and wind and hydropower development in Jamaica.  While the efforts to increase RE development have intensified over recent years in CARICOM member states, the overall impacts are marginal. This constrained pace of RE development can be attributed to a number of factors including the lack of effective policy and local capacity, legislative and regulatory framework with a low level of awareness, and limited financing for project preparation and development.

Figure 1: The Caribbean Region

- In 2004, GEF supported the Caribbean Renewable Energy Development Programme (CREDP) Project that was aimed at dismantling identified barriers (in the areas of policy, capacity, information, awareness and finance) to the increased use of RE in the region.  CREDP was implemented by UNDP, and executed by the Energy Programme within the CARICOM Secretariat with co-financing from GIZ.  GEF support for CREDP was concluded in 2009 with only GIZ support continuing until 2012.

- While CREDP did not achieve all of its objectives, it did strengthen capacity and raised awareness of RE issues, laying a useful foundation for further developments in RE and EE in CARICOM countries.  In April 2008, the CARICOM Secretariat established an Energy Programme with the key objective of finalizing a CARICOM Energy Policy and facilitating its implementation. The Energy Programme provided greater focus on regional energy sectors issues and development by implementing a programmatic approach to regional energy sector developments. In March 2013, CARICOM completed the Community Energy Policy, the primary goals of which are to improve regional energy security through diversification of energy supplies and greater utilization of renewable energy and cleaner fossil fuel such as natural gas.  The policy also seeks to encourage the establishment of more sustainable energy systems.

Energy Situation in Barbados

- Barbados is a small island state of 431 km² and a population of 271,000.  It ranks high among Latin America and the Caribbean (LAC) countries in terms of social and economic indicators.  Despite several efforts in recent years to promote renewable energy technologies, Barbados like many other Caribbean countries is still largely dependent on fossil fuel as their main source of energy for power generation and other applications.  In 2010, all of the electricity generated in the country was produced from fossil fuels. Power generation represents the main use of fuels in the country (50%), followed by transport (33%).  While Barbados produces some oil, the domestic demand of 10,000 greatly exceeds local supply of 1,000 barrels per day.  This results in oil imports in excess of 9,000 barrels per day that comprises 89% of its consumption.  Fluctuations in the import price of oil have posed challenges for Barbados, notably when oil reached a high of USD145 per barrel in 2008.  In 2011, Barbados spent USD 393,538 million on oil imports, representing 6% of the Barbados GDP.

- The Barbados Light and Power Company (BL&P) is the monopoly utility in Barbados, serving as the sole provider of electricity in the country that generates, transmits and distributes electricity to 124,000 households in Barbados. BL&P has a total installed electricity capacity of 239.1 MW with peak demand of 135 MW with an annual energy requirement of 2.9 million barrels of oil.  Its transmission and distribution (T&D) network consists of approximately 116 km of transmission lines operated at voltages of 24kV and 69kV, and 2800 km of distribution lines at 11kV.

- The rising cost of energy in Barbados has been accompanied by increased consumption of electricity from 2000 to 2008 that had grown more than 50% or around 5.4% annually since 2008 with consumption levelling off since 2008.  With an estimated 955,000 MWh of electricity generated in 2012 (as shown on Figure 2) and a per capita electricity consumption of 3,500 kWh/person in 2013, the annual CO2 emissions per capita in Barbados is in the order of 3 tonnes (based on estimates of 832,000 and 844,426 tonnes CO2eq in Barbados in 2009 and 2013 and an average emissions factor of 0.876 tCO2eq per MW/h of electricity generated).  Barbados also has one of the highest electricity costs in the region at USD 0.40/kWh.

- The response of the Government of Barbados (GoB) to rising energy prices has been to nationally prioritize the development and improvement of comprehensive energy conservation and efficiency programmes and strategies for all sectors of society designed to maximize the efficient use of energy, diversify the energy mix, and ensure that RE plays a progressively more significant role in the economy. The National Energy Policy promotes strategies that not only promote energy conservation and efficiency, but also contribute to mitigation efforts in reducing GHG emissions.

- The GoB, however, does face economic challenges that seriously constrain its ability to undertake any major RE investments, notably in solar-PV technology. This situation has engendered serious implications for disaster management particularly at hurricane and shelters that require off grid power generation.  While the use solar-PV will address these electricity needs at the community level particularly during disaster occurrences, government resources to finance solar-PV for these facilities remain scarce. This leaves Barbados particularly vulnerable to disasters. The 40 emergency shelters under the Ministry of Social Care, Constituency Empowerment and Community Development (MoSCCECD) and the poly clinics under the Ministry of Health (MoH) do face high risks on not having emergency power during and after a storm event.  Uninterrupted electricity supplies are needed at these facilities for lighting and to operate refrigerators for preserving medicines that may be needed after a disaster.

- Barbados also has an opportunity to increase RE into its energy mix during the next 10 years.  Approximately 104.5 MW of existing BL&P generating capacity is scheduled for retirement over the next ten years and electricity demand is expected to grow by an average of around 1.2% per year. New supply and demand resources will therefore be required to maintain supply reliability. The country’s excellent solar and wind resources provides the country the opportunity to increase the proportion of RE into the energy mix that is essential for energy security and sustainability.  To date, Barbados has been able to facilitate the development of its solar thermal resources by building a successful solar water heating (SWH) industry. Unfortunately, this has not been replicated with the same success with other RE technologies notably solar photovoltaic (PV).  Since 2010, energy generation using RE sources has been capped at a cumulative 10 MW due to concerns and a lack of knowledge on the impact of variable RE inputs into the national grid.  The government has stated, however, that it will continue to pursue the objective of achieving 29% proportion of RE to the energy mix by 2029.

Figure 2: Annual Electricity Consumption in Barbados (in thousand GWh)

Renewable Energy Development Initiatives in Barbados

- Barbados receives some of the best solar resources to accentuate the case for the development of distributed solar energy related technologies. Table 1 is a sample of the solar insolation values which range from 5.1 to 6.9 kWh/m2/day.

- Over the past decade, solar water heating (SWH) has been the dominant solar application in Barbados resulting in substantial savings for the country.  However, the tremendous potential that lies in solar photovoltaic remains to a large extent untapped.  Currently, there are more than 710 solar-PV rooftop installations that are grid-tied with more than 100 applications for grid connection pending. Demand for solar-PV is very high amongst middle to high income electricity consumers who envision access to reduced overall electricity costs from the installation of such systems at their homes and businesses. Under a new system proposed by BL&P, these consumers will be able to use the electricity they produce and sell the excess power to the grid.  This initiative will help the country in its reduction of electricity generation costs, electricity consumption, CO2 emissions, and dependency on fossil fuels.

Table 1: Solar energy and surface meteorology in Barbados

| Variable | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Insolation, kWh/m²/day | 5.42 | 6.03 | 6.58 | 6.86 | 6.79 | 6.43 | 6.58 | 6.52 | 6.06 | 5.64 | 5.16 | 5.13 |
| Clearness, 0 - 1 | 0.65 | 0.65 | 0.65 | 0.65 | 0.64 | 0.61 | 0.63 | 0.62 | 0.60 | 0.60 | 0.60 | 0.63 |
| Temperature, °C | 25.73 | 25.34 | 25.36 | 25.75 | 26.46 | 26.71 | 26.58 | 26.70 | 26.74 | 26.65 | 26.57 | 26.31 |
| Wind speed, m/s | 8.78 | 8.20 | 7.67 | 7.13 | 7.33 | 8.17 | 7.97 | 6.88 | 6.15 | 6.18 | 6.72 | 8.24 |
| Precipitation, mm | 63 | 39 | 37 | 45 | 57 | 98 | 134 | 154 | 159 | 178 | 177 | 96 |
| Wet days, d | 13.3 | 8.3 | 8.4 | 7.3 | 9.8 | 14.5 | 18.4 | 16.4 | 15.5 | 15.3 | 16.5 | 14. |

- A summary of the renewable energy potentials in Barbados is provided on Table 2.

## Root Causes and Threats

- A root cause for the slow development of RE in Barbados and many CARICOM nations is the fact that they are small islands or small energy markets where electricity generation was originally developed by a monopoly utility through the use of diesel fuels; many of these systems have not been changed and have evolved into inefficient diesel generation systems.  The recent price volatility of global oil prices has demonstrated the vulnerability of Barbados and CARICOM member states, where higher oil price increases have been paid for through diversion of national budgets.  This adversely impacts foreign currency reserves, balance of payments and availability of budgetary resources for social sectors such as health, education, disaster management and national security.  Until the fossil fuel price spikes of 2008 and 2009, the Government of Barbados had little incentive to improve the status quo.

Table 2: Renewable Energy Potential for Barbados

| Renewable Energy Sources | Qualitative Description of Potential |
| --- | --- |
| Solar | The potential for solar photovoltaic and solar thermal energy is good. The global horizontal irradiance for Barbados is 5.8 kWh/m2/day. Over 125,000 rooftops available in Barbados for solar-PV installations. |
| Wind | Favorable wind site was identified in Barbados; however, land price of this site was substantially raised by landowner, the GoB has been negotiating the land for a fair price. |
| Biomass | Limited potential give the size of the island, mainly with bagasse and MSW at a landfill. |
| Mini- and Micro-hydro | Flat topography and porous coral rock of the island does not provide any opportunities for hydropower development |
| Wave and Tidal | No projected figures (no formal assessment done) |

- Similar to other CARICOM member states, Barbados has a small electricity grid that is a consequence to technical and financial barriers to constructing inter-dependent and power-sharing connections between island nations; as a result, Barbados as well as other CARICOM states has some of the highest electricity tariffs in the world.  The opportunities for developing renewable energy in Barbados as a means of mitigating these prices are drawing increasing interest from investors based in Barbados and overseas. Though Barbados is more developed than several CARICOM nations mainly through tourism, the rising energy costs not only diverts national budgets away from social programs and maintenance of disaster risk reduction efforts, but also limits the GoB in its ability to promote and diversify the energy mix of Barbados into renewable energy. The GoB’s current budget limitations are also making it increasingly difficult for it to invest in solar-PV installations for public assets, RE training for public-sector personnel and raising awareness for the general public of the Government’s intentions of increasing the share of RE in the country’s energy mix.

## Barrier Analysis

- There have been challenges in scaling up the use of RE technologies to commercial potential.  These challenges include lack of appropriate legislative framework, the lack of institutional capacity, low levels of public awareness, and a lack of knowledge on the impacts of variable RE into the national grid.

Regulatory, policy and legal barriers:

- The GoB as well as BL&P is unsure of the impact of variable renewable energy (VRE) inputs into the grid.  The uncertainty of how much VRE can be injected into the Barbadian grid affects the strategic planning for growth of the renewable energy in Barbados.

- The lack of a strategic plan under the country’s NSEP does not allow policy makers to define the pace of RE development in terms of annual installed capacity. This would assist policymakers and programme implementers on the required resources, the capacity needed to staff the programme, the required volume of solar-PV equipment required and the potential employment generation for local youth and other local skilled vocational trades.

- The other regulatory barrier is the lack of a completed licensing structure for solar-PV installations. Currently, supply and installation companies are legally guided by the Government Electrical Engineering Department (GEED) using the National Electrical Code (NEC) for solar-PV installations.  DoET currently requires a review of procurement and installation practices, both current and best practices that would inform the new licensing regime on the requirements of foreign and local vendors on the sale and installation of solar-PV systems for grid-connected electricity generation in Barbados. The licensing system may adopt international codes and standards for RE installations and adapt them for Barbadian installations that will be used by local vendors to ensure local growth of the industry for solar-PV and other RE technologies through strengthening of the local value chain, ensuring and accounting for environmental benefits (GHG emissions) and addressing social concerns (including energy security for public services in health, education and disaster risk management).

Technical barrier

- A technical barrier to an increased share of RE in Barbados is the current government uncertainty on the amount of variable renewable energy (VRE) inputs that can be fed into the national electricity grid.  Sudden changes to energy inputs from a loss of wind or solar light increase the risk of grid failure if the grid is not appropriately equipped. As mentioned in Para 20, this uncertainty has led to a lack of specific details of how the GoB plans to increase the share of RE in Barbados.  Furthermore, there is uncertainty over technical measures that could be undertaken to upgrade the grid to increase its absorptive capacity for VRE.  One main concern of the government as well as the electric utility in Barbados is the limitation of grid stability. Any electrical power grid must be operated within predefined standards including maintaining voltage and frequency as well as loading of grid components within tolerance limits. Since the characteristics of the electric grid are expected to change when installing new generation capacity, the government and the electric utility need to assess the required technologies and their costs to ensure grid stability.

- Exceeding the tolerance limits on grid components can cause adverse effects and damage in grid components such as various consumer appliances. In the case of high VRE penetration, the possibility of the violation of these tolerance limits must be estimated, and if observed, mitigated.  However, there has been a lack of technical analysis and modelling of VRE penetration scenarios using specialized power system software.  This has led to a lack of technical knowledge of mitigation measures for the grid stability, and their associated costs.  Although additional costs can be expected for high VRE penetration scenarios, RE generation plus these additional costs is still a much lower cost than current conventional fossil fuel-based power generation.

Capacity and knowledge barrier

- The increasing difficulty of accessing available GoB resources for RE development is constraining the recruitment and development of technical expertise within national government institutions who are tasked to oversee the proposed scale-up of RE in Barbados.  This includes ECRE, the lead unit within DoET who are tasked with the oversight of the RE-scale-up under SEFB.  Unfortunately, ECRE only have 3 staff to oversee grid stability analysis, make recommendations for investments into the grid for VRE inputs, provide technical support for strategic planning for RE scale-up targets commensurate with grid capacity to absorb VRE, and development of licensing criteria for grid-connected rooftop solar PV. The ECRE also do not have sufficient capacity to catalyze the local market to absorb and benefit from RE developments.

- There is a strong likelihood investors are unable to source local technicians who have had training in solar technology topics.  This would result in lost opportunities for developing local solar-related businesses for the supply and installation of rooftop solar-PV.

- Another barrier is the low level of awareness of the feasibility of solar PV.  There is a common and dated perception that solar-PV is a costly option for alternative electricity generation for most households. Before the GoB can successfully implement the scale-up of RE development, building awareness at the community level is required particularly with the aim of informing the public that RE development will have an impact of reducing the cost of electricity.  Current Government awareness raising programmes are not sufficiently sustained and need to speak to the issue of what renewable energy technologies are available for exploitation, and in particular, how solar-PV technology can reduce energy costs. These programmes are mostly donor-funded, with limited coordination and follow-up afterwards. In addition, there are insufficient demonstrations of operational rooftop-solar-PV installations that would convince more households of its feasibility.  The ECRE and the GoB do not have sufficient personnel or resources to promote the benefits and feasibility of solar-PV and RE for Barbados.

Market and financial barrier:

- Despite the high electricity costs in Barbados (US$0.40/kWh), lower solar PV market prices globally and recent solar water heating market success in the country, there is still a common perception that the upfront cost of RE and in particular, solar-PV is still high, limiting their uptake onto the Barbadian market.  The national utility, BL&P, has little incentive to increase renewable energy generation in line with currently updated energy policy.  BL&P offer limited financial incentives for RE into the Barbados energy mix due to their own assessment that the grid can absorb up to 10% VRE inputs into the grid under its Renewable Energy Rider Programme (RER).  With reports that the RER programme is now over-subscribed, there are indications that the demand for RE in Barbados is strong despite the artificial limitations imposed by BL&P on the Barbadian RE market.

## Stakeholder Analysis

- The Division of Energy and Telecommunications within the Office of the Prime Minister (DoET) was created in 2010 through a Cabinet reshuffle.  DoET has the responsibility for monitoring and regulating the energy sector, RE and energy conservation, and the development of policy by collaborating closely with institutions and stakeholders with an active role in the energy sector.  DoET is headed by a Permanent Secretary who oversees several units including a Project Implementation Unit; the Energy Conservation and Renewable Energy Unit (ECRE); a Resource and Planning Unit; Administration and Accounts; and the Telecommunications Unit.

- In particular, this Project will be working primarily with the ECRE whose mandate is to promote the use of renewable technologies and encouraging the effective use of energy.  ECRE has also been tasked under SEFB with data collection activities.

- The Barbados Light and Power Company (BL&P) is a private firm owned by Light & Power Holdings Limited (L&PH) that owns and operates all electricity production, transmission and distribution facilities in Barbados.  BL&P’s current license for the exclusive right to supply electricity for any public or private purpose under the Electric Light and Power Act (ELPA) is valid until August 1, 2028.  As of 2010, 70% of the shares of BL&P were owned by Emera Holdings of Canada with the remaining shares owned by Barbadian investors.

- The Government Electrical Engineering Department (GEED) under the Ministry of Transport and Works is responsible for electrical inspections of buildings and other installations and is primarily concerned with safety. The Electricity Act, Chapter 277 of the Laws of Barbados makes provision for the position of Electrical Engineer in the Government’s administration for home inspection.

- The Fair Trading Commission (FTC) was established in January 2001 under the Fair Trading Commission Act to replace the Public Utilities Board to more effectively address issues such as fair competition and consumer rights. The FTC is expected to provide arms-length regulation and oversight of the electricity utilities to achieve cost efficiency in electricity supply and by extension lower electricity rates to consumers in the medium to long term.  Though the FTC reports to the Ministry of Trade, Industry and Commerce (MoTIC), it is a separate and independent regulator responsible for utility regulation, ensuring and promoting fair competition, and safeguarding consumer interests. Some of the specific duties of FTC are to:

- Identify and enforce the principles, rates, and standards of service for regulated service providers such as BL&P;

- Monitor and investigate the conduct of service providers and business enterprises;

- Investigate possible breaches of the Acts administered by FTC;

- Inform and educate companies and consumers about the stipulations of the Acts;

- Enforce action where necessary; and

- Promote and maintain effective competition in the economy.

- Ministry of Environment, Water Resources and Drainage (MoEWRD) has the mandate to advance a sustainable development program underpinned by leading edge environment policies, practices and programs that protect all aspects of our environment, our water resources, quality of life and the holistic well-being of our citizens.  MoEWRD also serves as the focal point ministry for climate change policies and the reporting of national GHG emissions.

- Ministry of Health (MoH) is the executing agency for the delivery of health care in the public sector and has responsibility for planning, regulation and evaluation across the public, private and NGO sectors.  MoH also own and operate the polyclinics that provide basic health care services to the general population of Barbados.  There are also 3 hospitals in Barbados also fall under the administrative purview of the MoH;

- Ministry of Social Care, Constituency Empowerment and Community Development (MoSCCECD) own and operate more than 40 community and resources centers throughout Barbados that are used for providing community events such as education and various training programmes.

- The Department of Emergency Management (DEM) are under the Ministry of Education, Science, Technology and Innovation (MoESTI) and provide technical guidance to all line ministries with assets that are used for emergency management purposes such as storm shelters, first aid and relief centers.

- Barbados Association of Energy Professionals provides a forum for energy professionals to discuss and actively pursue appropriate energy solutions to meet the needs of Barbados and the region as a whole. The Association works to raise awareness through a public awareness program while providing advisory services to residential, industrial and commercial clients.

## Baseline Analysis

National Strategies, Plans and Regulatory Framework for Renewable Energy

- The energy sector is governed by the Electric Light and Power Act (1899) and the Draft Energy Policy adopted by Parliament in 2008, and regulated by the Fair Trading Commission Act and the Utilities Regulation Act.  The responsibility for energy lies within the portfolio of the Prime Minister of Barbados and a Minister of State.  Within this framework, the GoB is driven to reduce its dependence on imported fossil fuels and has taken a number of measures to ensure this reduction including:

- Formulation of a National Strategic Plan of Barbados for 2006–25 to facilitate the elimination of its reliance on fossil fuels, with an initial but specific focus on increasing the number of household solar water heaters (SWH) by 50% by the end of 2025. To date, the SWH Programme has been successful with the deployment of SWH in more than 50% of the island’s households;

- The National Energy Policy of Barbados of 2007 that was approved by Parliament with a primary objective of providing national energy security through conservation and energy efficiency, a transition to a low carbon economy;

The Sustainable Energy Framework for Barbados (SEFB) of 2010 that was an output of cooperation between the GoB and the IDB with financing from GEF on a comprehensive program of policy and regulatory changes from which the GoB has drafted a National Sustainable Energy Plan (NSEP).  The NSEP calls for more sustainable production and consumption of fossil fuels, the use of more renewable energy, and more efficient use of electricity.  Most importantly in the context of renewable energy, the NSEP calls for specific targets which are to increase the proportion of renewable energy to 29% by 2029.  However, there no accompanying strategic plans that specify how this target will be achieved;

- A public sector energy conservation plan and the implementation of a Green Economy Policy that was intended to move Barbados toward “green” (sustainable) production and procurement. This would have the impact of integrating productive sectors of the economy to create greater synergies, affecting economies of scale and improving efficiency and productivity while reducing carbon emissions, and promoting “Green Centers” and grant concessions and rebates for the construction of “green” buildings that conform to standards established by the Ministry of Energy, granting of rebates for energy audits and retrofitting of homes, businesses and the hotel sector;

- Approval of a Renewable Energy Rider (RER) pilot project proposed by BL&P in close consultation with the Fair Trading Commission in July 2010 that allows eligible customers with renewable power sources to sell excess power to the grid. Private households were allowed to install up to 5 KWp and commercial establishments up to 50 KWp for a total capacity of 1.6 MW or 200 projects for the pilot phase whichever was achieved first;

- An extension of the RER in 2012 that has resulted in an increase in the maximum size of RE systems that businesses could install up to 150 KWp; nationally, this would translate into a total to 8 MW with another 8 MW reserved for a utility scale system;

- A proposed limit by BL&P for intermittent RE (solar and wind) to be 10% of peak demand due to the possible negative impact on grid stability and reliability. This represents 19% of the minimum system demand, until the results from their Intermittent Renewable Energy Penetration Study (2014) are evaluated and appropriately reported. The aim of the Intermittent Renewable Energy Penetration Study was to further evaluate the potential penetration levels that can be accommodated and maintained without compromising grid stability and reliability.  The issue for the GoB is that an independent grid stability assessment is required that will evaluate the potential VRE into the grid and strategies and investment options to increase VRE penetration into the Barbadian grid;

- Revisions to the ELPA in late 2013 to incorporate increased demand for RE power generation and improve the conditions for meeting the RE targets of the government of 29% RE power generation by 2029.  Revisions proposed will allow the Energy Minister to supersede the RER as of July 2014.  As a result, the GoB and the private sector have committed to implementing RE technology from 2014-2015 (absolute certainty) and 2016-2020 (reasonable certainty). Beyond 2020, the level of certainty and reliability of committing to and implementing on the ground projects decreases, with the 2015 solar-PV limit of 12 MW, set by BL&P, will to be possibly adopted or raised depending on the outcomes of grid stability assessments;

- Significant tax incentives for RE and EE under the Income Tax Amendment (2013).  Incentives included the exclusion of “income earned from the sale of electricity from the utilization of renewable energy equipment by an individual who owns and wholly occupies a residential property (Section 9, Cap.73).  In addition, fees towards training expenses related to renewable energy or for attendance at an educational or vocational institute for the study of RE or EE systems;

- Annual budgetary and financial statements of the Ministry of Finance especially for 2012 which provided budgetary justification for the procurement and installation of RE systems for government assets, notably solar-PV on building rooftops;

- A second extension of the RER in 2014 to partially meet the high demand for rooftop solar PV that will now translate into a total to 10 MW with another 8 MW reserved for a utility scale system. To date, there are currently more than 710 customers benefitting from the RE Rider Programme with cumulative installed capacity of 5.5 MW;

- Further amendments to the ELPA in late 2014 provide the framework of a licensing regime to regulate and set standards for the future RE installations.  In its context of promotion of the generation of electricity from renewable sources in Barbados, the Act now stipulates that independence producers of electricity must obtain a license before electricity can be supplied to other persons.  As would be the case with any new legislation, the Government anticipates that the experiences from the issuance of the first licenses will inform them of further required changes to strengthen the licensing regime and streamline the licensing process.  Streamlining of the licensing process is important to the Government as it seeks to meet the demand for renewable energy and reduce electricity prices in Barbados.

Current and Planned Solar-PV Installations in Barbados

- Barbados has no utility scale renewable generation capacity. Renewable energy generation in Barbados has been limited to a few small solar PV and wind systems installed by households, and experimental systems located at Government facilities. Solar water heaters comprise the most significant use of renewable energy in the country. According to Government and BL&P estimates, solar water heaters have reached a penetration of 60% in high-and middle-income households.

- The first use of photovoltaic systems was for telecommunications to power microwave repeater stations, and navigational aids in remote areas. By the end of the 90’s, the government had the desire to have the same positive image for photovoltaic as for solar water heater technologies and installed various demonstration projects. By 2001 there were over 30 kWp photovoltaic systems at various sites installed in Barbados, all financed by the Government‘s Ministry of Physical Development Environment.  This is the list of the systems installed (total of 2.28 MW) including:

- 1.1 kWp at the University of the West Indies for solar cooling;

- 17.3 kWp at Harrison’s Cave for running the cave’s lighting system;

- 3.0 kWp at Combermere School for operating a computer laboratory;

- 11.1 kWp at the Skeete’s Bay fishing complex on the island’s East Coast powering a one-tonne-per-day solar ice maker for the fisher-folk;

- 0.3 kWp portable photovoltaic system is used to demonstrate the flexibility and versatility of the technology to members of the public; and

- Another 2.25 MW in industrial and commercial applications.

- The Public Sector Energy Conservation Programme (PSECP) was initiated in 2007, and is managed and implemented by the Energy Conservation and Renewable Energy (ECRE) under the Office of the Prime Minister and reports to the public sector energy conservation committee. PSECP was designed specifically for government buildings to undertake energy audits and efficient air conditioning, refrigeration, and public lighting programmes and the introduction of the Energy Efficient Vehicle Programme which mandates that the engine size of the government vehicles should be 1600cc or smaller. PSECP also included planning for the installation of solar PV systems on the roofs of 12 government owned buildings as part of this USD 24.664 million programme, and the installation of 2.5 kWp solar PV systems on 20 schools and National Conservation Commission facilities is ongoing with the completion of installations at 5 facilities.

- There are also a number of solar-PV installations under the RER under the private sector.  Progress of installations under RER is summarized on Table 3.

Table 3: Total Solar-PV installations in Barbados from RER

| Year | No. of Connections | Cumulative Installed Capacity (kW) |
| --- | --- | --- |
| 2010 | 4 | 6.9 |
| 2011 | 8 | 13.8 |
| 2012 | 63 | 909.8 |
| 2013 | 350 | 2900.0 |
| 2014 | 710 | 5500.0 |

- In summary, total installed capacity of solar PV as reported by DoET is 7.78 MW (2.28 MW from the installations described in Para 41 + 5.5 MW from the RER described in Para 43).  By mid-2015, another 5.14 MW of solar PV will have been installed on various government buildings bringing the total of solar-PV installed by mid-2015 to 12.92 MW.

- Some of the projects likely to be committed to with reasonable certainty between 2016 and 2020 by the GoB includes:

- Installation of a total of 150 kWp of solar PV on the gymnasium financed by a grant fund from the Chinese Government;

- Installation of a total of 450 kW of solar PV at each of the 3 Water Authority sites (3 x 150 kWp) financed by a grant fund from the Chinese Government;

- Installation of a total of 75 kW of solar PV on 30 schools (30 x 2.5 kWp) financed by the European Union (EU) from the 11th European Development Fund (EDF11);

- Installation of 10 MW of solar PV with funds from SEFB for government rooftops.

- The current backlog of applications by private sector for solar PV under the RER mentioned in Para 43 is an indication of the high demand for solar PV installations.  With this demand for RE approval, the solar PV installed capacity could exceed the 2029 target of 29% of all installed capacity or the 70 MW of RE by 2029 as proposed under SEFB.  The experience of other island states such as Martinique and Puerto Rico suggest that investors are willing to install large quantities of solar PV if provided with the opportunity.

- Based on BL&P’s Integrated Resource Plan of 2012, the proposed limit for intermittent RE (solar and wind) is set at 10% of peak demand to avoid possible negative impacts on grid stability and reliability.  The nature of these renewable technologies, however, may not be as intermittent as historically believed based on operational data generated in Barbados. The performance of modern solar PV systems, coupled with geographical distribution across Barbados, can substantially contribute to the RE power generation of Barbados.  In addition, a growing number of utility companies globally have been employing a variety of commercially viable technologies aimed at addressing the range of negative effects presented as a result of large scale RE integration into their grid systems.

- The promotion of a larger grid tie solar-PV system is contingent on a grid stability study.  A grid stability study is required to determine the capacity of the grid to absorb renewable energy.  It will also inform policy makers of the appropriate actions that are needed to accommodate various RE technologies. The issue of licensing can be more appropriately addressed in the context of cost, capacity, and exemptions.  With the grid capacity for RE capped at 10% by BL&P, there is currently an ongoing debate as to the extent of the realistic ceiling for renewable energy into the Barbadian grid.  Figure 3 provides an illustration of the exponential uptake of solar-PV in Barbados that is an indicator of the importance and urgency of resolving a number of critical issues relating to the grid.

Figure 3: Trends in Solar Imports into Barbados

Donor assistance projects in renewable energy

- The Programmatic Energy Policy-Based Loan (PBL) from the Inter-American Development Bank (IDB) has served as one of the primary instruments to create the impetus for regulatory, policy, and legislative reforms necessary for the promotion of sustainable energy.  A USD 45 million loan was signed in October 2010 by the GoB and disbursed as support for “Sustainable Energy Framework for Barbados (SEFB) I”, designed to help reduce dependency on fossil fuels through promotion of sustainable energy initiatives.  According to the Barbados Economic and Social Report 2010, the loan was intended to promote climate change adaptation measures and energy conservation initiatives, as well as supporting institutional strengthening and public education and awareness.  With specific reference to RE, the goals of SEFB I were to:

  - maintain power quality and reliability while reducing system cost by modifying the regulation of the power sector and sustaining mechanisms for BL&P to purchase power from RE providers;

  - establish an Energy Smart Fund to serve as a financial instrument for promoting investments in economically viable EE and RE technologies; and

  - supply and install 25 PV systems to households and 3 PV to Government institutions. To date, installations were completed and the inspection process by GEED was under way with 5 inspections being completed and approved.

SEFB I is being implemented by the ECRE and is due for completion by the end of November 2014.

- Another PBL loan of USD 70 million was signed by GoB in November 2011 to support “Sustainable Energy Framework for Barbados (SEFB) II”, a second generation policy reform that promotes the enactment of RE legislation by parliament; and the completion of the National Sustainable Energy Policy (NSEP).  This loan has been designed to assist in the diversification of the country’s energy mix and to promote sustainable energy. This has led to actions pertaining to the development and approval of an NSEP.

- SEFB I related resources were also used to establish the Energy Smart Fund (also known as the Sustainable Energy Investment Programme). This programme is a package of financial instruments (low interest loans and grants to the public) and technical assistance designed as a specific incentive to support the increased use of RE and the implementation of EE measures through removal of the main implementation barriers.  The Energy Smart Fund was launched on November 28, 2011 as a USD 10 million fund divided into 5 components of which two components are of interest in the context of RE development:

- EE Retrofit and Renewable Energy Finance Facility is a USD 6.5 million revolving fund for commercial and industrial entities to borrow funds for up to 50% of the cost of RE and energy efficiency projects. Of this USD 6.5 million, USD 0.5 million is intended for the Technical Assistance Facility, which provided grants to businesses for funding pre-investment studies for RE and EE projects, including assessment of viability and implementation support; and

- The Discretionary Facility is a USD 1.0 million grant and fund administrative cost facility for the government to undertake any activities which would not carry a financial benefit, but would be essential to increasing the use of EE and RE by household and companies, such as public relation and education awareness campaigns, data collection, monitoring, and overall support for the execution of the fund.

- The SEFB I programme is critical for the promotion of renewable energy and energy efficiency in Barbados.  However, similar to other donor supported projects, SEFB I faces the challenge of a lack of human resources to implement the programme within DoET.  This has resulted in several delays in project delivery, particularly in the procurement of consultants.  A consultant had been hired to assist in the implementation of the project.  Notwithstanding initial interest expressed by large firms in Barbados for loan under the facility, application for loans has been very low particularly from the hotel sector.  The loan security requirements have been cited as the major reason for low application.

- The Public Sector Smart Energy Programme (PSSEP) was launched in November 2013 following the signing of an IDB loan agreement for USD 17 million along with a USD 7.6 million grant from the EU.  In the context of RE development in Barbados, PSSEP funds are to be utilized to finance capacity building for government agencies and public information campaigns to raise citizens’ awareness about renewable energies and energy conservation. PSSEP resources are also allocated to training technicians and professionals in key public sector agencies and in private sector suppliers of services such as solar system installation, and building capacity of tertiary education agencies. The vision of PSSEP is to have a cadre of technicians and professionals in the solar-PV sector as a result of these training activities. The program will also encourage more women to participate in these activities. Similar to SEFB I, however, the lack of qualified personnel to manage all components of the programme have seriously constrained its progress.

- The First Phase of the Caribbean Hotel Energy Efficiency Action Program (CHENACT) was a collaboration between the Government of Barbados and IDB, the Caribbean Hotel and Tourism Association (CHTA), the Caribbean Alliance for Sustainable Tourism (CAST), the Caribbean Tourism Organization (CTO), the United Nations Environment Programme (UNEP), and the GoB.  CHENACT, signed by the parties on October 13, 2011, is part of the Caribbean Renewable Energy Development Programme (CREDP) and its objective was to promote the implementation of EE practices and small generation with RE technologies in the Caribbean tourism sector while at the same time improving the competiveness of small, medium and large tourism facilities. This included the mobilization of Caribbean hotels toward higher EE and micro-generation with RE.

- Barbados served as a case study for the first phase of CHENACT (2009-2011) and the lessons learned from this were to inform the implementation and operation of the Energy Smart Fund. In a concerted effort with the IDB and CHENACT, the United Nations Development Fund contributed a USD 1.0 million GEF pilot project fund intended to support energy efficient and renewable initiatives.

- CHENACT is now on its second phase, and known as CHENACT Action-Advanced Programme (CHENACT-AP). The contract for this phase was signed on October 13, 2011 with IDB providing USD 2.0 million. The specific objective of this phase of the programme (as it relates to Barbados) is to evaluate the results of the first phase of CHENACT, and contribute to the implementation of the investment plans for EE and RE for Small and Medium Enterprises (SMEs), including the tourism sector.

Current National Grid Characteristics

- In 2010, BL&P issued a guideline document for those wanting to invest RE power generation that included a group of operational conditions and technical requirements for grid connection.  This initiative had an impact of raised awareness among customers about the grid connection requirements by providing a description about application procedure and the grid connection requirements manual. This has encouraged customers under the RER to install a generator or inverter to the grid, get certification and approval from BL&P after demonstrating compliance to the local grid codes, which need to be amended to meet best international standards. International standards would ensure minimum impact on the existing grid at maximum VRE penetration, and enable the control of the grid operator to maintain a minimum quality of the grid operation. If higher VRE penetration is to be considered, existing grid codes need to be refined to reduce negative impacts on the grid, while maintaining grid stability and reducing generation costs.

- BL&P is uncertain over the adverse effects of high inputs of renewable energy generation that may include voltage irregularities, frequency fluctuations, overloading of grid components and the errors in the protection systems. In case of high VRE penetration scenarios, reverse power is possible for some feeders in the grid since the consumption side in the conventionally designed network becomes a generation side with the installation of rooftop RE generators. The present installed PV capacity in the Barbadian grid amounts to 5,500 kWp, equivalent to a penetration level of 4% during its peak and 2.5% from the installed conventional capacity. This penetration level is relatively low compared to penetration levels in advanced countries in RE.  Thus, the present operation scenario has a low probability of voltage violations.

- The effort to determine the impact to the Barbadian grid with high VRE inputs is a significant undertaking, a part of which could be financed by the Project.  Notwithstanding the time constraints, two VRE scenarios were assessed with mitigation measures based on qualitative analysis and experience. Before implementing such measures, further evaluations with improved information and detailed simulations are required.

- Recommended Scenario 1: A 30% penetration of VRE in relation to total generation represents 72 MW of RE generation. This level of RE penetration is expected to encounter some voltage violations, especially in the low voltage (LV) grid level, since the PV installation is considered as an attractive option for households. In addition, lines overloading would be observed during the peak feed-in hours due to the phenomena of high reverse power. The risk of transformer overloading would be higher in some locations where the PV installations are concentrated.

- Some mitigation measures to resolve the grid problems include:

- strategic grid reinforcement based on an assessment of lines and transformers that are overloaded;

- the implementation of on-load tap changers (OLTC), which is a classic approach to control voltage at the secondary side of the transformer by changing the number of windings, should be  considered, especially for MV/LV transformers;

- the application of smart inverters by each RE generator will mitigate voltage problems mainly by providing reactive power according to constant power factor.

- Recommended Scenario 2: A 60% penetration of VRE represents 144 MW of RE generation. This level of VRE penetration would cause the voltage, frequency and overloading problems that will require additional grid stabilizing measures over measures being considered under Scenario 1.

- Mitigation measures to stabilize frequency and voltage to be considered are mainly measures related to demand side management (DSM) in addition to those in Scenario 1 that includes:

- curtailment of power during high feed-in hours;

- the use of battery storage banks that are either installed by the utility or purchased by households with solar PV installations (that would require financial incentives given the additional cost of battery banks to households);

- installation of a synchronous condenser to stabilize frequency deviations.

Emergency Shelters and Relief Centers

- The Department of Emergency Management (DEM) under MoESTI manages the fitness of various buildings (including schools, community centers, polyclinics and hospitals) that serve as emergency shelters during storm events and relief centers that provide food and medicine.  While most of these shelters and centers have diesel generators to serve as backup power in the event of a severe storm, this is done at a higher cost to Government in its use of fossil fuels.

- Many of these shelters are located in the 40 community and resource centers that are managed under the MoSCCECD. The 10 relief centers are located in polyclinics managed under the MoH.  The 40 community and resource centers also serve as primary locations for the communities to conduct town hall meetings, providing computers courses for those without access to the internet, providing child day care, and serving as a focal point for a variety of social purposes.

- DEM’s guidance to the Government has stated that all community and resources centers under MoSCCECD do not have reliable backup power. As such, the GoB has aimed to install stand-alone solar-PV systems at emergency shelters and relief centers to provide backup power in the event that the grid is down after a severe storm. This would improve the country’s Disaster Relief Response (DRR) and allow Barbados to be better equipped to recover from natural disasters. The GoB, however, are faced with budget constraints to provide emergency shelter facilities with renewable energy as a backup power system.  To date, there is only one national conservation center that has a solar-PV system installed that generates 7 to 8 kWh daily from a set of 2.5 kWp panels.  The addition of solar-PV systems to the remaining emergency shelters and relief centers would provide a number of other benefits including:

- reduction of the demand for fossil fuels that are stored for emergency disaster response purposes;

- raising awareness of solar-PV systems at locations frequented by the community; and

- increasing the knowledge and skills of community center attendants on the operation and maintenance of solar-PV systems.

RE Training

- Barbados is well-known for its technical, vocational and academic institutions.  In 2012, the University of the West Indies developed a Masters’ degree programme in Renewable Energy Management. Other post-secondary institutions such as the University of West Indies (Cave Hill), the Samuel Jackman Prescod Polytechnic, the Barbados Community College as well as private companies provide training in various aspects of renewable energy such as solar-PV technology design and installation, and energy audits that support the country’s quest for higher usage of renewable energy technologies.  Currently, resources from PSSEP are being used to develop a more synergistic approach amongst these institutions to more effectively catalyze renewable energy development in Barbados.  This would include stronger linkages of these training institutions with government agencies that oversee various aspects of RE technology development such as DoET, the Barbados National Standard Institute (BNSI), Fair Trade Commission (FTC), Government Electrical Engineering Department (GEED), Barbados Light and Power (BL&P) have a pivotal role to play in creating that enabling environment to catalyze renewable energy technology in Barbados.

# STRATEGY

## Project Rationale and Policy Conformity

- The 2014 Second National Communication (SNC) of Barbados underscored the country’s heavy reliance on fossil fuel imports, poor management and limited human resources in energy generation, which this Project will help address. The SNC considered the energy sector as a priority to develop appropriate national responses to climate change, due to its impact on other sectors. The SNC is also paying attention to the barriers to be removed for the deployment of renewable energy that will contribute to its goal of strengthening the national economy through the reduction of the dependence on fossil fuel imports.

- In addition, the Sustainable Energy Framework of Barbados for 2010 contains amongst others, the following objectives of:

- Reduction in the dependence on fossil fuels with more emphasis on renewable energies;

- Targets of 29% of the national energy usage from renewable sources by 2029.

## Country Ownership: Country Eligibility

- Barbados ratified the UN Framework Convention on Climate Change (UNFCCC) and the Kyoto Protocol on 7 August 2000.

## Country Drivenness

- To improve the energy security of Barbados, the GoB has issued a number of policies and programmes the most important of which includes:

- The 2007 Barbados National Energy Policy committing the country to national energy conservation and efficiency through alternative and renewable energy sources that includes wind and solar amongst other RE sources;

- Green Barbados is a target goal of the 2007-2025 National Strategic Plan that seeks to transform the country into the cleanest, most environmentally advanced country in the world. This includes several attractive incentives for companies investing in RE technologies; and

- The aforementioned Sustainable Energy Framework for Barbados (SEFB) that will fund government research, a regulatory system and financial incentives to promote affordable and sustainable energy solutions and security. This includes the Smart Energy Fund to assist SMEs and entrepreneurs with financing at subsidized interest rates of 3.5% for renewable energy-generating and energy-conservation projects.

## Alternative GEF Scenario

- The GEF alternative to the business-as-usual (BAU) scenario for this Project is summarized in Table 4 that demonstrates GEF incrementality of this Project.

Table 4: Component comparisons of BAU and GEF scenarios

| Component | BAU/Baseline scenario | GEF Alternative |
| --- | --- | --- |
| 1. Renewable energy policy framework | The GoB will continue its ongoing in-kind support to DoET- ECRE to implement the Barbados Sustainable Energy Framework (SEFB) and operationalization of associated policies, regulatory and legislative developments that are not well integrated with best international practices due to the lack of in-house capacity. This would include a recently GoB-drafted licensing regime for RE technologies that will likely require amendments necessitated by issues that emerge during the issuance of licenses. This will also include a strategy led by BL&P to maximize VRE into the existing grid without incremental investments to improve the grid’s capacity to absorb a higher proportion of VRE. This approach constrains the ability of the GoB to strategically plan activities to reach the SEFB RE target of 29% by 2029. | ECRE will implement the SEFB that is informed by a more robust understanding of the Barbadian electricity grid’s ability to absorb VRE inputs over the short term, and the required hardware to increase the grid’s capacity to absorb higher proportions of VRE in the medium and long term. The grid stability assessment is a key study for the GoB that will enable it to strategically plan its pace of RE and grid upgrades in Barbados. In turn, the strategic plan for grid upgrades will be based on the level of “phased” investment into the grid and the Government’s ability and willingness to finance grid upgrades. This will ultimately determine the pace of RE development in Barbados, and a stronger RE policy framework. In addition, ECRE will be able to implement an integrated licensing regime for solar-PV system installations under the SEFB using best international practices that will protect the consumer as well as the owners of the RE generator and ultimately lead to a reduction of electricity production costs and prices, dependency on fuel imports, and emissions of GHG. This will lead to broader-based green, low emission, climate resilient development in Barbados. |
| USD 637,000 | USD 260,000 | USD 377,000 |
| 2. Clean energy capacity development | PSSEP resources are being used to train technicians and professionals in solar-PV installations to build a cadre of solar-PV technicians and professionals who can manage a scaled-up programme of solar-PV installations Awareness raising program for climate change and renewable energy not being delivered in a sustainable manner with a focused agency, and due to the lack of capacity within ECRE. As a result, initial raising of RE awareness and interest amongst youth and the unemployed on a scaled-up solar-PV program for Barbados will not be effective. The number of recruits into RE academic, technical and vocational training programs will not be maximized by the GoB | With this Project focusing on the installation of solar-PV panels on community and resource centers under MoSCCECD in Component 3, the Project will use its resources and position to provide awareness raising sessions on the plans of the SEFB, and the plans for installation of solar-PV at community and resource centers. This will provide effective awareness raising at the community level and provide initial interest of youth, under-employed persons and others to apply to courses to training solar-PV technicians (under PSSEP). These awareness raising sessions will also: - develop national capabilities to ensure safety, energy security and disaster risk response is maintained; - ensure access to electricity in emergency situations is guaranteed; and - strengthen human and infrastructure resilience to be consistent with local content, employment generation and sustainable development strategies so Barbadians reap the social, economic and environmental benefits of transformed RE markets. |
| USD 1,067,484 | USD 790,000 | USD 277,484 |
| 3. Solar photovoltaic system installations | The Office of the Prime Minister’s Energy Conservation and Renewable Energy (ECRE) unit is awarding contracts for grid-connected solar PV rooftop installations in government schools, promoting additional installations in health polyclinics, and community and resource centers and launching calls for additional private sector investment ($17m). Currently, schools and community and resource centers serve as emergency shelters while polyclinics serve as relief centers during severe storm events. While there is a programme for installing solar-PV to serve as backup power systems during storm events, community and resource centers will continue the use of diesel generators for backup power, and in instances where the GoB have sufficient budget. While the GoB has plans for the installation of solar-PV panels at community and resource centers, it currently is unable to do so until there are sufficient budgetary resources to do so. As such, the country will not be able to strengthen its disaster relief response | The successful demonstration of solar PV installations at public community and resource centers and polyclinics will provide reliable backup power to these facilities during extreme storm events. In addition, this will bring more confidence to the private sector investment of the feasibility of solar and other renewable energy technology installations in Barbados. With more clarity in the GoB’s strategic plans for RE scale-up based on their knowledge of required investments to increase VRE into the national grid, and a strengthened licensing regime for RE technologies, local engineering companies in partnership with international firms as well as the national utility will be enabled to successfully implement a scaled-up program for grid-connected solar PV technology projects in Barbados, either as distributed or centralized generation. This will demonstrate GHG emission reductions, increased access to clean energy access, improved climate resilience, and cost competitiveness with current costs for electricity. |
| USD 30,922,000 | USD 29,850,000 (incl. PMC) | USD 1,072,000 (incl. PMC) |
| USD 32,626,484 | USD 30,900,000 (incl. PMC) | USD 1,726,484 (incl. PMC) |

## Project Objective, Outcomes and Output/Activities

- The objective of this Project is to promote increased access to clean energy in Barbados through solar photovoltaic systems in public buildings, namely government-operated community and resource centers, and polyclinics that will strengthen the climate resilience and disaster risk management of Barbados.  This will be achieved through the removal of barriers in three Project components.

- Component 1: Renewable energy policy framework:  This component addresses the barrier concerning policy gaps in the regulatory framework that would fully address the realization of the market potential for solar-PV in Barbados under the targets of SEFB and provide more confidence to potential investors of the opportunities for solar-PV investments in Barbados. The expected outcome from the outputs that will be delivered by the activities that will be carried out under this component is the formulation of clear policy and regulations supported by a solar-PV action plan and an approved and enforced licensing regime that will promote broad-based renewable energy generation in Barbados.  The following outputs will contribute to the achievement of this outcome:

- Output 1.1: Grid stability assessment.  In addition to the grid assessment being conducted by BL&P on VRE penetration scenarios, an independent grid stability assessment is required in Barbados to: a) assist the country in assessing the grid’s current ability to absorb VRE; and b) assess upgrades required for the grid to absorb more VRE than the current 10% allowed by BL&P into the grid under its RER. GEF assistance is required for the following:

  - Preparing a characterization of the Barbadian grid to inform the GoB as well as EL&P and stakeholders of the current limitations of VRE penetration to the grid, and highlighting opportunities, potential problems, solutions and bottlenecks, to greater VRE penetration that are can be presented at workshops and training sessions;

  - Procurement of and training for specialized power system software such as PowerFactory from DIgSILENT, which is considered an industry standard for load flow analysis, grid modeling and grid planning.  The training of grid operational staff in the use of such software will be for setting up simulations as well as the technical and economical evaluation of mitigation measures to avoid possible adverse impacts of high VRE penetration.  Trainees will conduct an analysis for a certain VRE installation through load flow simulations, and thus define a mitigation measure that is cost-effective for the RE generator as well to the end-consumer. Moreover, all results shall be implemented comprehensively with a GIS platform that enables the modeler to identify the location of mitigation measures in relation to the location of any grid-connected RE generator;

  - Performing grid analysis with the upgraded software based on dynamic simulation and load flow analysis that considers the entire island grid of Barbados. This should identify weak grid nodes to inform policy makers, BL&P and all stakeholders on where possible grid investments are required to allow a higher proportion of VRE into the grid.  This will also enable GoB and BL&P to prepare strategies and plans on scale-up of VRE into the grid (either through distributed generation or centralized generation) and how to operate and manage the grid and the electricity system in a technically efficient, cost effective, and safe manner;

  - Conducting an evaluation of national grid codes applicable to local renewable energy generators, and recommend enhancements that apply best practices in terms of grid stability, and the reliability and operation of the grid where VRE inputs into the grid are significant;

  - Providing estimates of the cost of electricity for the various VRE penetration scenarios including the associated costs of grid upgrades.  This should also include comparative costs of distributed generation (i.e. rooftop solar PV) and centralized generation (i.e. solar farm), and the impact of each generation mode to the cost of electricity.  This will assist the Fair Trade Commission in providing its guidance with recommendations on the pace of VRE development by the GoB;

- Output 1.2: Strategic planning for solar-PV deployment in Barbados. To provide detailed action plans for DoET and the GoB to meet or exceed their SEFB RE target (or other targets as set by GoB) of 29% RE by 2029, GEF support will be required for technical assistance for:

  - Preparation of a market assessment that includes:

    - For distributed generation: an estimate of potential solar rooftop locations for Barbados with estimates of capital and socio-economic costs and benefits. This will provide an overall perspective of the market size for rooftop solar-PV in Barbados;

    - For centralized generation. An overview of potential sites for solar farms in Barbados with estimates of potential installed capacity, capital and socio-economic costs and benefits.

  - Preparing strategies, recommendations, actions and codes to safeguard the grid from faults from the ranges of VRE assessed, and the associated cost of grid upgrades;

  - Design of a phased program solar-PV programme consisting of an extension of the RER-based on new solar-PV installations, possible centralized solar PV generation locations, and grid investments that increase the ability of the grid to absorb more VRE.  The specific phases and milestones will be updated based on the potential rooftop locations, target dates for their development (based on private sector interest generated from the dissemination of the solar-PV resource information), and actual progress achieved with each specific development. GEF support will be required for technical assistance to augment the targets of the SEFB with updated and specific milestones;

  - If distributed generation comprises a significant share of the scaled-up solar-PV programme moving forward, the Project will design a solar-PV allocation system that incorporates principles of parity and equal opportunities for solar-PV installations.  With permits to have rooftop solar installations expected to be in high demand, the new allocation system for permits must provide an equal opportunity for a low income household to obtain a solar-PV installation permit as much as a middle- or high-income household.  Without the involvement of FTC, the absence of such a system may result in unfair allocations of rooftop solar-PV permits to wealthier households. GEF support will be required for technical assistance to design a fair solar-PV allocation system;

- Output 1.3: Approved and strengthened licensing procedures for RE projects. With GoB targets of the SEFB of a scaled-up program in Barbados for solar-PV installations, a licensing regime is critical in attracting entities who can meet the set requirements of the GoB for solar-PV installations and to streamline scaled-up activities for additional solar-PV installations in line with the solar-PV strategic plans set in Output 1.2.  With the DoET recently completing a licensing framework for RE technologies being deployed in Barbados, difficulties and delays will emerge in preparing and issuing specific RE licenses. GEF assistance is required for the following activities to deliver this output:

  - Review the Barbados energy strategic plan for solar-PV (Output 1.2) that were designed to elucidate realistic short, medium and long term objectives given the resources available. The FTC will be involved with this review, similar to regulatory authorities in developed countries, to regularize electricity market activities in the best interest of the consumers by means of reliability, availability, quality and efficiency, and by creating conditions for competition and cost minimization. These ideals need to be reflected in the structure and requirements of solar-PV licenses;

  - Conduct a desk study of other countries with successful histories of RE development and implementation.  Stringent license regimes would have been or being used the manage supply of electricity, controlled grid activities, and establish operational parameters;

  - Conduct a review of the brief history of the electricity market in small island developing states of the Caribbean in the way they have used license to control the activities of monopolistic and dominant players in the market and thereby reduce cost, improve service and establish parity. Such policies may have relevance to price, and price caps, bundles of services offered in respect of the cost structure;

  - Provide guidance to GoB for their new licensing regime for solar-PV installations in Barbados. This could include assistance if required or determined to be appropriate, to incorporate specific clauses in licenses to:

  - be aligned with the policy and strategic plans of the GoB on new future growth targets for renewable energy penetration in Barbados;

  - categorization of the license by public, commercial, industrial or domestic sector each allocated with a limited designated capacity;

  - subject applicants for licenses to a thorough interview to ensure that all necessary technical and administrated requirements are met and to verify the information stated on the license application form;

  - inherently promote the rights and safety of customers as adumbrated through stated conditions;

  - ensure social equity in the distribution of licenses that provides equal opportunities for all strata of society to participate in the uptake of the RE technology notably solar PV;

  - promote environmental preservation and sustainability of the RE installation through a set of conditions that must be adhered to by all suppliers or holders of licenses;

  - ensure that there are foreign suppliers of solar-PV equipment address inclusive growth needs with respect to the local supply chain; and c) ensure that issues regarding youth employment are addressed in a new solar programme in Barbados.  When an application is made for a license, it should state specifically the kind of license that is being requested (i.e. generation or distribution license); this is done to overcome the perception in most Caribbean countries of the word “license” being used as an all-inclusive term that is not specific to what technology is being licensed;

  - provide a fee structure that would encourage or discourage a particular size investment, promote competitiveness, discourage monopoly, and provide a waiver on requirements for investments of a particular size; and

  - built-in sanctions for blatant violation of the terms and conditions expressed therein.

This Project component is expected to result in (a) clarification of resources (including grid investments for grid stability) required to meet or exceed the RE targets of the NSEP for Barbados of 29% in 2029; (b) clarified licensing requirements for IPPs or individual businesses to undertake solar-PV installations on rooftops or centralized RE generation in Barbados; and (c) the use of best international licensing practices for the delivery of reliable, quality and less costly electricity services to end users.

- Component 2: Clean energy capacity development. This component is intended to address the barriers associated with the lack of capacity in Barbados to plan, design, implement, operate and maintain RE projects. The expected outcome from the deliverables of the activities to be conducted under this component is raised awareness and increased capacity of government personnel, local entrepreneurs and tradesmen to support the scaled-up development of solar-PV installations in Barbados and by geographic extension, other CARICOM countries. The outputs from this component will contribute to the: (a) awareness of policymakers and government personnel with significant roles in RE development, primarily within ECRE and BL&P; and (b) strengthening the capacity of technical and trades personnel from Barbados-based private sector contractors and supply entrepreneurs as well as similar personnel from other CARICOM countries.  The following outputs will contribute to the achievement of this outcome:

- Output 2.1: RE awareness raising programs at community and resource centers:  This output will target the general awareness of the public through activities taking place at the community and resources centers under MoSCCECD. These programs will enable participants to a) improve their understanding of energy security issues of Barbados (including climate change and the benefits nationally and globally of renewable energy particularly solar-PV that is installed at the community centers); b) further understand the efforts necessary to support the installation of solar-PV and other RE technologies, and c) link with engineering or vocational trade schools such as the one setup by ECRE with assistance from IDB.  GEF assistance is required for the following activities:

  - Prepare and design activities that will raise the awareness of renewable energy and solar-PV installations at community centers, and of energy security issues for Barbados.  The materials to be used as awareness raising material can be modelled from similar material from other CARICOM countries where similar activities are occurring.  The CARICOM Secretariat’s Energy Programme can serve as a source for training materials;

  - Conduct a series of awareness raising workshops on the development of solar, wind, biomass and other RE technologies that primarily target community level youth and under-employed persons who may be interested in being trained in the RE sector;

  - Collection and dissemination of learning material into printed audio-visual formats and postings on a Project website;

  - Solicit workshop feedback and improve the quality of workshops delivered.

- Output 2.2: Solar development vocational training programmes:  This activity will consist of the following activities:

  - Conduct a series of vocational workshops on the installation, operation and maintenance of solar PV installations that primarily targets local contractors and unemployed youth.  These workshops will teach best practices for solar PV assembly that will have the PV-system efficiency optimized and minimize or eliminate operational problems. As such, the skills for correct installation, assembly, operation, maintenance and repair are of high importance and value within local solar market exploitation. The workshops will also be grounded to include theoretical background of power electronics for PV systems that are in compliance with several grid codes and smart inverter modes.  These workshops will provide certification and position local youth to be employed when demand for such vocational skills increases with the solar-PV rooftop installations for private residences;

  - Conducting seminars on specific RE topics such as solar PV installations, wind measurement readings, and the management and operation and maintenance of RE projects.

GEF assistance is not required for this output as it is being funded with GoB resources that are under the PSSEP program.

- Component 3: Solar-PV installations: This component will address the barrier of low capacity and low level of awareness of the feasibility of solar-PV installations in Barbados. This component will provide support and investment towards the demonstration of sustainable solar-PV installation business models in Barbados to potential investors. The following outputs will contribute to the achievement of this outcome:

- Output 3.1: Feasibility studies of specific solar PV installations.  This will include comprehensive analysis of the solar-PV technology being deployed at each proposed demo site with the following activities:

- prepare feasibility-level engineering studies for the solar-PV demo projects on rooftops of government buildings to assist in offsetting grid electricity and to demonstrate the feasibility of generating electricity from building rooftops into the grid.  The studies will examine the solar resources available, the effort and benefits of these demonstrations, estimate the offsets of diesel fuel electricity generation, and estimate the potential for replication of solar-PV deployment to private households and commercial buildings.  The study should also include financial analysis of demo projects including cost estimates, rates of return, risk analysis and business plans for implementation.  By Year 1, feasibility studies are likely to be prepared for:

  - the 2.5 kWp solar-PV panels to be installed at the 40 community and resources centers under MoCD; and

  - the 5 kWp solar-PV panels to be installed at the 10 polyclinics under MoH;

- prepare feasibility-level studies for other solar-PV installations on public and private rooftops in collaboration with a local bank and solar PV supply and installation company.  The documents should utilize the system for allocation of permits for rooftop solar-PV (from Output 1.3), analyze financial requirements and assess risk of an investment, propose possible financing packages for low to high income households, conduct capacity assessments of qualified installation companies, provide recommendations for inspections for quality assurance and technical backup in the event of faulty installations, and provide sources of available financing of such an investment in Barbados by Year 3;

GEF assistance is not required for this activity as it is being undertaken by the staff at ECRE.  This activity will be sustained throughout the 3-year duration of the Project.

- Output 3.2: Implementation assistance for solar-PV projects.  ECRE and BL&P will work closely with other government ministries with buildings, private entrepreneurs, private investors and RE financing institutions to promote and support rooftop solar-PV installations in Barbados.  In particular, the Project will support ECRE on their programme for an additional 10 MW of solar PV installations atop government buildings, as selected by GoB and where the participation of the private sector is sought for investment and installations.  GEF assistance will be required for:

- assisting in the preparation of licensing documents for private firms to supply and install solar PV on government buildings.  This may include provisions for local supply of certain items and the use of local labor;

- oversight assistance in an assessment of public buildings on the space requirements and improvements necessary to accommodate rooftop solar PV installations, and to feed electricity to the grid;

- setup of local workshops and businesses that will import, supply, install and provide technical support for solar PV panel installations for under the PSSEP programme as well as those proposed under Output 3.3.  This activity will be closely tied to vocational training under Output 2.2 to meet an expected increase in demand for skilled construction laborers, construction equipment operators, welders, structural iron and steelworkers, electricians and solar photovoltaic installers;

- assistance to ECRE to promote a national program for rooftop solar PV installations given the GoB’s own interest in reducing peak loads and electricity generation costs.  Assistance could include (a) arrangement of circulars and printed media on planning, design, implementation and operation of RE projects; (b) workshops and seminars for private property owners on developing rooftop solar PV installations and other RE projects; (c) conducting a survey of the willingness of households to invest in rooftop solar panels disaggregated into responses of each gender and household income. While it is intuitive that most households would invest in rooftop solar panels to reduce monthly electricity costs, a gender disaggregated survey would provide valuable information on how to best ensure the uptake of solar energy on rooftops is maximized in Barbados; and (d) assisting project proponents in collaboration with ECRE and BL&P personnel on the design of rooftop solar installations, and arranging of RE project financing with available sources; and

- reporting of the benefits and carbon reductions of solar-PV installations to the MoEWRD

The absence of this support would increase the risk that contractors do not install equipment as designed and the installations do not maximize generation of electricity thus placing risk on the solar-PV investment and its ability to generate the returns from RE.

- Output 3.3: Solar-PV demo investment projects.  GEF funds in this output will be used for investment into solar-PV installations to improve the Disaster Risk Response (DRR) for government building assets used for public shelters and relief centers that includes:

- 40 - 2.5 kWp of solar PV installations on 40 community and resource centers under the MoSCCECD; and

- 10 – 5 kWp solar-PV installations at the polyclinics under the MoH.

The investment would include the supply and installation of the solar PV systems.  A listing of the MoSCCECD facilities and MoH polyclinics is provided in Annex IV.

- Without these planned interventions and successful demonstrations for renewable energy power generation projects, there will be increased risks of the GoB not meeting its targets for growth of RE development in the SEFB. Without the GEF project, the current RE knowledge base as well as institutional and local entrepreneurial capacities in Barbados will not be sufficient to induce scaled-up investments into solar-PV electricity generation.  In addition, the uncertainties of the GoB’s plans for grid upgrades to accommodate more VRE inputs will limit the growth of the RE market size, and dissuade investments from independent renewable energy power producers, namely private property owners in Barbados. Without the removal of the identified barriers, the grid-connected renewable electricity market will not develop outside the current modality where BL&P controls all new electricity generation facilities, if it has the resources to develop these RE facilities at all.

- Figure 4 is a flowchart of how the Project will be implemented. Figure 5 is an indicative implementation schedule of how this Project will be implemented.

Figure 4: Project Flowchart

Legend:

|  | Barriers |
| --- | --- |
|  | Baseline activities |
|  | GEF activities |
|  | Project objective |

Figure 5: Indicative Implementation Schedule for DREAM Project

## Key Indicators and Risks

Indicators

- The most direct impact of the proposed Project as it relates to core GEF objectives is the reduction in CO2 emissions from the power sector. Impact indicators to gauge the success of the Project includes:

- Number of strategic plans completed for RE development in Barbados with targets and milestones by Year 2;

- Number of grid stability assessments on VRE penetration into the Barbados grid by EOP;

- Number of RE licenses that received direct Project assistance by EOP;

- Number of persons attending awareness raising sessions at community centers with regards to the benefits of rooftop solar PV installations by EOP

- Number of persons enrolling in vocational training programs on solar PV technology and installations by EOP

- Number of tradespersons who have local certification to construct, assemble, operate and maintain RE technologies by EOP;

- MW of rooftop solar PV installations financed through GoB RE funds where DoET and BL&P have involvement in operationalization by Year 3;

- MW capacity of rooftop solar PV projects in planning and design stages by EOP.

- MWh of electricity produced from installed systems annually

- Number of people/households using RE-based electricity

Table 5 provides a summary of the expected direct and post-project indirect GHG emissions from the Project.

Table 5: Summary of Direct GHG Emissions from Project Interventions

| Intervention Description | Detail | GHG Reductions (Tonne CO2eq) |  |
| --- | --- | --- | --- |
|  |  | Direct (yearly) | Direct (lifetime) |
| Grid-connected solar PV panels | 40 Community and Resource Centers each with 2.5 kWp solar PV installations (approx. 292MWh/yr) with 3 days of 10 kWh per day battery storage (equipment purchased and installed by Project) | 255.8 | 2,558 |
|  | 10 Polyclinics each with 5 kW grid-tied system (approx. 146MWh/yr from equipment purchased and installed by Project) | 127.9 | 1,279 |
| Co-financed solar PV installations that benefit from TA from the Project including the grid stability analysis | 150 kWp (438MWh/yr) at Gymnasium (Chinese Grant) | 383.7 | 3,837 |
|  | 450 kWp (1,314MWh/yr) at 3 Water Authority Sites (Chinese grant) | 1,151.1 | 11,511 |
|  | 75 kWp (219MWh/yr) at 30 Schools (under EDF-11 Funding) | 191.8 | 1,918 |
|  | DoET PPP for 2.5 MW on Public Buildings (7,300MWh/yr) | 6,394.8 | 63,948 |
|  | DoET PPP for 7.5 MW on Public Buildings (21,900MWh/yr) | 19,184.4 | 191,844 |
| Totals: | Approx. RE-based electricity generated: 316,090 MWh/yr | 27,768.5 | 276,895 |

- Cumulative direct emissions are claimed for the DoET PP for 7.5 MW.  The 7.5 MW investment potentially represents a 5.6% share in installed capacity that would raise concerns over the ceiling for VRE set by BL&P at 10%; the grid stability analysis from Output 1.1 would contribute to the Government’s confidence of the technical solutions to exceed this 10% ceiling and move forward with the 7.5 MW investment in 2018 as well as other planned co-financed investments.

Risks

- The overall Project risk is moderate. While all possible efforts have been made in the design of this Project to mitigate perceived project risks, there are inevitably some unavoidable residual risks that will need careful monitoring and management to ensure project success. Internal risks and recommended mitigation measures are summarized on Table 6 and provided in detail in the “Offline Risk Log” in Annex I.

Table 6: Internal Project Risks and Mitigating Actions

| Risk | Level of Risk | Mitigating Actions |
| --- | --- | --- |
| Terms and conditions for replication phase are not sufficiently attractive for private investors (IPPs) | Moderate | The Project will be designed to minimize the risk profile of RET projects in Barbados, specifically solar PV rooftop installations that are deemed to have a higher probability of success for demonstration and replication. The Project will reduce the risk profile of these RE installations through two modalities: a) solar PV panels are procured and operated by private property owners who can recover their investment through a net billing mechanism; or b) solar PV panels are installed by BL&P on private rooftops that are leased to BL&P. To sustain the growth of RE deployment, the Project will also strengthen local capacity on RE issues; assist in improving licensing terms and conditions for RE private investors (including attractive tariffs, lease arrangements, off-take and payment guarantees); and improve the financial climate for RE investments. RE projects will be developed as a partnership between project sector and the GoB. |
| Delays due to lack of government capacity | High | The Project is designed for implementation by the ECRE under the DoET, whose mandate is to promote renewable energy project development in Barbados. The investment of the Project in solar panels will strengthen the ECRE in their capacity to promote and support development of RE in Barbados. |
| Insufficient capital made available for RE investment scale-up | Low | Implementation of pilot projects will demonstrate to potential RE investors that RE projects can be successfully implemented in Barbados, raising the confidence of financial institutions to avail capital financing through carbon funds or NAMA financing. Moreover, the economics of developing a rooftop solar PV programme appears to be attractive, thus increasing the probabilities of its successful scale-up. The Project may request participating financing institutions to focus their RE lending towards solar-PV scale-up. |
| Returns on investment not realized due to solar-PV installations not generating sufficient renewable energy | Moderate | The Project will provide quality control assistance to RE project and operational personnel on international standards and best practices for RE deployment that will ensure maximum power generation and return of investment, and to procure RE equipment that have performance guarantees and technical support from suppliers and manufacturers. The Project will also work closely with FTC to ensure there are guidelines and enforcement mechanisms to ensure that the delivery of electricity from RE sources follows best international practices. |

## Cost Effectiveness

- The GEF contribution of USD 1,726,484 will result in a cumulative direct emission reductions of 276,895 tonnes CO2eq from the Project investment of solar PV panels on the rooftops of 40 selected community and resource centers and 10 polyclinics, and the installations from co-financed solar panels as listed in Para 45 (as summarized on Table 5).

- In the absence of Project or BAU scenario, the generation of direct emission reductions of 276,895 tonnes CO2eq simply will be delayed until an independent grid stability analysis is done to establish the permissible VRE penetration into the Barbadian grid and the cost of upgrading the grid to ensure its stability.

- This Project will contribute to the catalytic development of solar energy sources that will translate into GHG reductions from the Barbados energy sector. This Project will create more confidence for the GoB to develop greater proportion of VRE inputs into the Barbadian electricity grid, thus generating additional investor interest and increasing confidence on RE investments in Barbados.  The Project will also generate lessons and knowledge on effective implementation of solar projects in Barbados that can be disseminated to similar island nations of CARICOM.  This will catalyze RE investment, mostly in rooftop solar PV installations for both the public and private sector after completion of the Project.  As such, this Project will also generate indirect emission reductions resulting from the improved capacity of the ECRE to act as a renewable energy investment facilitation center or clearing house and an enabled RE investment environment that will result in the indirect “top-down” reduction of 718,400 tonnes CO2eq based on a causality factor of 40%.  No “bottom-up replications are anticipated from this Project since the ECRE and BL&P are regulating the entry of new solar PV installations into the Barbadian energy market, notably to ensure VRE penetration does not affect grid stability until more studies are done to understand these issues. This translates into a GEF abatement cost of USD 1.73 per tonne CO2eq considering total emission reductions.

- This Project also seeks to produce knowledge of global value on how to implement climate change mitigation measures in small island states that can be applied in other countries in the region that are not participating in the Project and even for islands in other regions of the world. The value of these early lessons will make the GEF resources applied, more cost-effective in the medium term.

## Sustainability and Replicability

Sustainability

- This Project is designed to ensure that RE investment conditions by the EOP are favorable to the extent that RE development in Barbados can be sustained well after Project completion.  Sustainability of this GEF project will be ensured through:

  - The knowledge of ECRE and BL&P that the Barbadian electricity grid can be upgraded to accommodate higher inputs of VRE thereby creating a market for technologies for deployment and generation of renewable energy in Barbados;

  - Oversight assistance to ECRE to ensure licensing conditions for solar PV installers and project proponents acts in the best interests of the country from the economic standpoint in the context of energy costs; and

  - Ensuring a sustained supply of recruits for solar PV vocational courses through awareness raising programs at community and resources centers that are considered the main gathering places for most communities in Barbados.

Replicability

- The solar-PV installations on community and resource centers and polyclinics in Barbados will provide valuable developmental and operational experience and data to boost investor confidence that on-grid RE projects can be successfully developed in Barbados with good rates of return.  This demonstration of RE viability in Barbados will facilitate replication of RE projects throughout Barbados when the grid stability assessments are completed.

# project results framework

Primary applicable Key Environment and Sustainable Development Key Result Area (same as that on the cover page, circle one): 1. Mainstreaming environment and energy OR 2. Catalyzing environmental finance OR 3. Promote climate change adaptation OR 4. Expanding access to environmental and energy services for the poor.

Applicable GEF Strategic Objective and Program: GEF-5 CC4 Strategic Program SP3: Increased production of renewable energy in electricity grids

Applicable GEF Expected Outcomes: Total avoided GHG emissions from on-grid RE electricity generation

Applicable GEF Outcome Indicators: Market penetration of on-grid renewable energy (% from renewables); GHG emissions from electricity generation (tons CO2eq/kWh); and $/ tons CO2eq

|  | Indicator | Baseline | Targets End of Project | Source of verification | Assumptions |
| --- | --- | --- | --- | --- | --- |
| Project Objective: Promotion of increased access to clean energy in Barbados through solar photo-voltaic systems in government buildings to strengthen the country’s climate resilience and disaster risk management | - Cumulative direct CO2 emission reductions resulting from the GEF-intervention - RE-based MWh electricity from the GEF intervention - Number of people using RE-based electricity - % share of RE in the power generation mix of Barbados | - 0 - 0 - 0 - 0 | - 276,895 - 316,090 - 18,564 - 6.8 | - Project final report as well as annual surveys of energy consumption & reductions for each RE project | - Economic growth in the country will continue - Government support for RE development and utilization will not change |
| Outcome 1: Strategic plans and licensing regime approved for accelerated RE development | - Number of strategic plans completed for RE development in Barbados with targets and milestones by Year 2 - Number of grid stability assessments on VRE penetration into the Barbados grid by EOP - Number of RE licenses that received direct Project assistance by EOP | - 0 - 0 - 0 | - 1 - 1 - 6 | - Completed studies on RE policy/tariffs, and RE grid integration - Guidebooks on operational rules that assist DoET on developing RE power projects in Barbados - DoET project approvals - Annual reviews of key performance indicators of DoET Strategic Plan | - Continued government support for legislative and regulatory reform to promote and accelerate RE development - Capacity of government does not substantially delay approval of RE policies and RE projects |
| Outcome 2: Institutional and technical capacity and awareness strengthened for clean energy development | - Number of persons attending awareness raising sessions at community centers with regards to the benefits of rooftop solar PV installations that actively seek the introduction of RE in their households/buildings/other infrastructure by EOP disaggregated by sex/gender - Number of persons under vocational training programs on solar PV technology and installations that are active in the RE sector by EOP, disaggregated by sex/gender - Number of tradespersons who have local certification to construct, assemble, operate and maintain RE technologies that are actively providing ESCO-type/other services by EOP disaggregated by sex/gender | - 0 - 0 - 0 | - 100 - 20 - 50 | - Workshop and seminar proceedings - RE training course materials - Training evaluations by participants | - Government budgets for technical training for RE are replenished on an annual basis |
| Outcome 3: Feasible stand-alone solar PV electricity generation investments are successfully demonstrated | - MW of rooftop solar PV installations financed through GoB RE funds where DoET and BL&P have involvement in operationalization by Year 3 - MW capacity of rooftop solar PV projects in planning and design stages by EOP | - 0 - 0 | - 3.325 - 7.5 | - Bankable documents with business plans for RE demo projects - PPAs and approval permits to construct - Contract documents for construction and solar PV installations - Work inspection reports - Plans for additional rooftop solar PV installations in Barbados - Surveys of electricity consumption after solar-PV rooftop installations | - Sufficient annual replenishment of RE development funds - Capacity of government does not substantially delay approval of RE policies and RE projects |

# total budget and work plan

| Award ID: | 00082952 | Project ID(s): | 00091628 |
| --- | --- | --- | --- |
| Award Title: | Disaster Risk & Energy Access Management (DREAM) |  |  |
| Business Unit: | BRB10 |  |  |
| Project Title: | Disaster Risk & Energy Access Management (DREAM) |  |  |
| PIMS no. | 5186 |  |  |
| Implementing Partner (Executing Agency) | Division of Energy and Telecommunications (under the Office of the Prime Minister) |  |  |

| GEF Outcome/Atlas Activity | Responsible Party/ Implementing Agent | Fund ID | Donor Name | Atlas Budgetary Account Code | ATLAS Budget Description | Amount (USD) Year 1 2015 | Amount (USD) Year 2 2016 | Amount (USD) Year 3 2017 | Total (USD) | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Outcome 1: Strategic plans and licensing regime approved for accelerated RE development |  | 62000 | GEF | 71200 | International Consultants | 0 | 0 | 0 | 0 |  |
|  |  |  |  | 71300 | Local Consultants | 13,000 | 13,000 | 7,000 | 33,000 | See Note 1 |
|  |  |  |  | 72100 | Contractual Services | 152,000 | 142,000 |  | 294,000 | See Note 2 |
|  |  |  |  | 71600 | Travel |  |  |  | 0 |  |
|  |  |  |  | 72300 | Materials and Goods |  |  |  | 0 |  |
|  |  |  |  | 72605 | Grants to Institutions | 50,000 |  |  | 50,000 | See Note 3 |
|  | Total GEF Outcome 1 |  |  |  |  | 215,000 | 155,000 | 7,000 | 377,000 |  |
|  | Total Outcome 1 |  |  |  |  | 215,000 | 155,000 | 7,000 | 377,000 |  |
| Outcome 2: Institutional and technical capacity and awareness strengthened for clean energy development |  | 62000 | GEF | 71200 | International Consultants | 0 | 0 | 0 | 0 |  |
|  |  |  |  | 71300 | Local Consultants | 0 | 0 | 8,000 | 8,000 | See Note 4 |
|  |  |  |  | 72100 | Contractual Services | 25,000 | 25,000 | 25,000 | 75,000 | See Note 5 |
|  |  |  |  | 71600 | Travel |  |  |  | 0 |  |
|  |  |  |  | 72300 | Materials and Goods |  |  |  | 0 |  |
|  |  |  |  | 75700 | Training Workshops |  |  |  | 0 |  |
|  | Total GEF Outcome 2 |  |  |  |  | 25,000 | 25,000 | 33,000 | 83,000 |  |
|  | Total Outcome 2 |  |  |  |  | 25,000 | 25,000 | 33,000 | 83,000 |  |
| Outcome 3: Feasible stand-alone solar PV electricity generation investments are successfully demonstrated |  | 62000 | GEF | 71200 | International Consultants | 0 | 0 | 0 | 0 |  |
|  |  |  |  | 71300 | Local Consultants | 23,000 | 23,000 | 23,000 | 69,000 | See Note 6 |
|  |  |  |  | 72100 | Contractual Services | 15,000 | 35,000 |  | 50,000 | See Note 7 |
|  |  |  |  | 71600 | Travel |  |  |  | 0 |  |
|  |  |  |  | 72300 | Materials and Goods | 672,000 | 400,000 |  | 1,072,000 | See Note 8 |
|  |  |  |  | 72605 | Grants to Institutions |  |  |  | 0 |  |
|  | Total GEF Outcome 3 |  |  |  |  | 710,000 | 458,000 | 23,000 | 1,191,000 |  |
|  | Total Outcome 3 |  |  |  |  | 710,000 | 458,000 | 23,000 | 1,191,000 |  |
| Project management (including M&E) |  | 62000 | GEF | 71200 | International Consultants | 0 | 0 | 0 | 0 |  |
|  |  |  |  | 71300 | Local Consultants and Local Staff | 16,000 | 16,000 | 14,000 | 46,000 | See Note 9 |
|  |  |  |  | 72100 | Contractual Services | 6,000 | 5,000 | 4,000 | 15,000 | See Note 10 |
|  |  |  |  | 72200 | Equipment |  |  | 1,000 | 1,000 |  |
|  |  |  |  | 72400 | Communications | 500 | 500 | 984 | 1,984 |  |
|  |  |  |  | 72500 | Office Supplies | 1,000 | 1,000 | 500 | 2,500 |  |
|  |  |  |  | 74100 | Audit | 3,000 | 3,000 | 3,000 | 9,000 |  |
|  | Total GEF Project Management |  |  |  |  | 26,500 | 25,500 | 23,484 | 75,484 |  |
|  | Total Project Management |  |  |  |  | 26,500 | 25,500 | 23,484 | 75,484 |  |
| GEF Total |  |  |  |  |  | 976,500 | 663,500 | 86,484 | 1,726,484 |  |
| UNDP Total |  |  |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  | 976,500 | 663,500 | 86,484 | 1,726,484 |  |

Summary of Funds:

|  | Amount Year 1 | Amount Year 2 | Amount Year 3 | Total |
| --- | --- | --- | --- | --- |
| GEF | 976,500 | 663,500 | 86,484 | 1,726,484 |
| Co-Financing | 877,662 | 8,260,770 | 21,761,568 | 30,900,000 |
| UNDP (in-kind) | 12,000 | 108,000 | 280,000 | 400,000 |
| DoET (inv) | 865,662 | 8,152,770 | 21,481,568 | 30,500,000 |
| TOTAL | 1,854,162 | 8,924,270 | 21,848,052 | 32,626,484 |

Notes:

    - This includes professional time for the National Project Coordinator (NPC) @USD 1,000/week for 13 weeks in Yrs 1 and 2, and 7 wks in Year 3

    - USD 182,000 assumed for grid stability analyses and modeling, USD 50,000 for licensing assistance, and USD 50,000 for RE strategic planning

    - USD 50,000 for purchase of grid software

    - This includes professional time for the National Project Coordinator (NPC) @USD 1,000/week for 8 weeks in Year 3

    - Awareness raising sessions at community and resource centers

    - This includes professional time for the NPC @USD 1,000/week for a total of 69 weeks even distributed between Yrs 1, 2 and 3

    - USD 50,000 for QC company specializing in solar installations

    - For the purchase of solar-PV panels and equipment as detailed under Output 3.3 description

    - Project Management Unit (PMU) time is allocated as follows: NPC @USD 1,000/week for 16 weeks in Year 1, 16 weeks in Year 2, and 14 weeks in Year 3.

    - Procurement, recruitment, logistics and general administrative services

# MANAGEMENT ARRANGEMENTS

## Project Organization Structure

- The project will be executed according to UNDP’s National Implementation Modality (NIM), as per the NIM project management implementation guidelines agreed by UNDP and the GoB. The Project is co-financed with funding from the GEF and UNDP acts as the GEF Executing Agency. Components 1, 2 and 3 of the Project will be implemented by the DoET, who will assume the overall responsibility for the achievement of Project results as the Implementing Partner (GEF Local Executing Agency). The DoET will designate a senior official as the National Project Director (NPD) for the Project.  The Project Management Unit (PMU) will consist of a full-time National Project Coordinator (NPC).   The organization structure of the Project is depicted on Figure 6.  The Terms of Reference (ToRs) of PMU personnel are provided in Annex VI.

Figure 6: Project Organization Structure

Project Board (Steering Committee)

Senior Beneficiary:

Office of the Prime Minister

Executive:

Government of Barbados

Senior Supplier:

UNDP and other co-financers

Project Assurance

UNDP

Component 1:

RE policy and regulatory support program

NPC with inputs from short-term contract services or consultants

Component 2:

Capacity building for RE development

NPC with inputs from short-term local consultants

National Project Coordinator (NPC)

Component 3:

Renewable energy investment scale-up

NPC with inputs from contractual services

- The Project Steering Committee (PSC) will have oversight of the Project Management Unit (PMU). The PSC will consist of a Chairperson (from the Office of the Prime Minister), with PSC members from DoET, one representative from ECRE, BL&P, MoEWRD, MoH, MoSCCECD and UNDP Barbados and the OECS.  The primary functions of the PSC will be to provide the necessary direction that allows the Project to function and achieve its policy and technical objectives, and to approve the annual Project plans and M&E reports.

- The NPD will be responsible for overall guidance to project management (for all components), including adherence to the Annual Work Plan (AWP) and achievement of planned results as outlined in the ProDoc, and for the use of UNDP funds through effective management and well established project review and oversight mechanisms. The NPD also will ensure coordination with various ministries and agencies provide guidance to the Project team to coordinate with UNDP, review reports and manage administrative arrangements as required by the GoB and UNDP. This would include the contribution of office space within the premises of the Division of Energy to personnel in the Project Management Unit (PMU).

- This Project has been designed as complimentary project that will initially provide valuable assistance for policy and strategic planning gaps and provide funds and technical assistance for Barbados efforts to promote and development renewable energy in Barbados.  As such, the NPD in close collaboration with the Project’s NPC will chart and implement the activities of this Project towards its objectives of catalyzing RE development in Barbados. This will include outsourcing of technical assistance such as the grid stability assessments and mitigation measures, strategic planning for RE expansion, and quality control for solar PV installations.

- UNDP will provide overall management and guidance from its Country Office (CO) in Barbados and the Latin America Caribbean Regional Centre (LAC) in Panama City, and will be responsible for monitoring and evaluation of the project as per normal GEF and UNDP requirements. The PMU under the CO will manage the day-to-day activities of the Project under the guidance of the NPD. The PMU will have one full-time staff, the National Project Coordinator. Terms of reference (ToRs) for the NPC are contained in Annex VI.

## General

- Collaborative Arrangements with Related Projects

- The proposed Project will have collaborative arrangements with a number of other donor initiatives that support renewable energy, described as follows:

- SIDS-DOCK Initiative currently has 10 pilot projects in 7 different Caribbean countries.  Their main roles are to strengthen energy policies and standards, structure financing mechanisms for renewable energy, awareness raising, regulatory training workshops for mid- to high policymakers, strengthening electrical inspectorates.  Wherever appropriate, SIDS-DOCK will consolidate and assist with the DREAM project in these areas, and facilitate access for Barbados into global markets for RE finance, sustainable energy technologies and with the European Union (EU) and the United States (US) carbon markets;

- The International Renewable Energy Agency (IRENA) who are currently in discussion with DoET to provide technical assistance on the formulation of a grid code and the necessary grid upgrades that will sustain the delivery of variable renewable energy to BL&P customers.

- This proposed Project will establish the necessary communication and coordination mechanisms through its PMU and PSC with the Project Management Board to ensure proper coordination between the various projects.  UNDP Barbados and OECS will also take the lead in ensuring adequate coordination and exchange of experiences. The Project will seek to coordinate its actions with other UNDP energy and climate change activities in the region; similar strategies of the proposed Project may extend an opportunity to share lessons and exploit synergies, in particular in areas of harmonization and mutual recognition. The proposed Project will also seek to coordinate actions with other existing government commitments and non-government initiatives.

- The DoET will ensure co-finance and cooperation from its other programs, some of which are funded by other donor agencies. Co-financing details are provided on Table 7.

Table 7: Co-Financing Details

| Co-Financer | Amount (USD) | General Description of Co-Financed Activities |
| --- | --- | --- |
| ECRE under the DoET | 0.65 million (in-kind) 29.85 million (investment) | - Component 1: - ECRE trainees in usage of grid stability software and analysis for Output 1.1: USD 50,000 (in-kind); - Personnel for strategic planning of VRE expansion for Output 1.2: USD 60,000 (in-kind); - Legal services for licensing agreements for Output 1.3: USD 100,000 (in-kind); - Annual software licensing and maintenance fees for Output 1.1: USD 50,000 (investment). - Component 2: - Rental of workshop venues at Community Centers and ECRE time for setting up workshops for Output 2.1: USD 40,000 (in-kind); - Vocational training program from PSSEP for Output 2.2: USD 350,000 (in-kind); - Component 3: - Feasibility studies for specific solar-PV installations for Output 3.1: USD 200,000 (in-kind); - Implementation assistance from ECRE officer for Output 3.2: USD 50,000 (in-kind); - Procurement and installation of a total of 10.675 MW of solar panels under Output 3.3: USD 29.75 million (investment) including: - 150 kWp of solar PV on the gymnasium; - 450 kW of solar PV at each of the 3 Water Authority sites (3 x 150 kWp); - 75 kW of solar PV on 30 schools (30 x 2.5 kWp); - Installation of 10 MW of solar PV for government rooftops under a PPP arrangement. - Project management: Office space and various administrative support for the Project: USD 100,000 (in-kind). |
| UNDP | 0.4 million (in-kind) | - Assessments on post disaster needs and post disaster finance. - Community Lighting assessments |
| Total: | 30.9 million |  |

Prior Obligations and Prerequisites

- There are no prior obligations and prerequisites.

Audit Arrangements

- The Government will provide the UNDP Resident Representative with certified periodic financial statements, and with an annual audit of the financial statements relating to the status of UNDP (including GEF) funds according to the established procedures set out in the programming and finance manuals. The audit will be conducted by the legally recognized auditor of the Government, or by a commercial auditor engaged by the Government.

- Agreement on Intellectual Property Rights and Use of Logo on Project Deliverables

- To accord proper acknowledgement to GEF for providing funding, a GEF logo should appear on all relevant GEF-supported project publications, including among others, project hardware, if any, purchased with GEF funds. Any citation on publications regarding projects funded by GEF should also accord proper acknowledgement to GEF. Alongside GEF and UNDP logo, a GoB logo may also be featured as the Implementing Partner of the proposed project.

# MONITORING FRAMEWORK AND EVALUATION

- The project team and the UNDP Office in Bridgetown supported by the UNDP-GEF Regional Coordination Unit in Panama City will be responsible for project monitoring an evaluation conducted in accordance with established UNDP and GEF procedures. The Project Results Framework provides performance and impact indicators for project implementation along with their corresponding means of verification. The GEF CC Tracking Tool will also be used to monitor progress in reducing GHG emissions. The M&E plan includes: inception workshop and report, project implementation reviews, quarterly and annual review reports, independent mid-term evaluation, and independent final evaluation. The following sections outline the principle components of the Monitoring and Evaluation Plan and indicative cost estimates related to M&E activities. The M&E budget is provided on Table 8.

- Project start:  A Project Inception Workshop will be held within the first 4 months of the project starting with those with assigned roles in the project organization structure, UNDP country office and where appropriate/feasible regional technical policy and program advisors as well as other stakeholders will be invited. The Inception Workshop is crucial to building ownership for the project results and to plan the first year annual work plan. The Inception Workshop would address a number of key issues including:

- Assisting all partners to fully understand and take ownership of the project;

- Detailing the roles, support services and complementary responsibilities of UNDP CO and RCU staff vis-à-vis the project team;

- Table 8: M&E Work Plan and Budget

| Type of M&E activity | Responsible Parties | Budget US$ Excluding project team staff time | Time Frame |
| --- | --- | --- | --- |
| Inception Workshop and Report | - Project Manager - UNDP CO, UNDP GEF | Indicative cost: 5,000 | Within first four months of project start up |
| Measurement of Means of Verification of project results. | - UNDP GEF RTA/Project Manager will oversee the hiring of specific studies and institutions, and delegate responsibilities to relevant team members. | To be finalized in Inception Phase and Workshop. | Start, mid and end of project (during evaluation cycle) and annually when required. |
| Measurement of Means of Verification for Project Progress on output and implementation | - Oversight by CTA with support from the Project Manager - Project team | To be determined as part of the Annual Work Plan's preparation. | Annually prior to ARR/PIR and to the definition of annual work plans |
| ARR/PIR | - Project manager and team - UNDP CO - UNDP RTA - UNDP EEG | None | Annually by July |
| Project Board meetings | Project Manager | To be determined as part of the Annual Work Plan's preparation. Indicative cost: 6,000 (1,500 x 4 years) | Following IW and annually thereafter. |
| Mid-term Review | - Project manager and team - UNDP CO - UNDP RCU - External Consultants (i.e. evaluation team) | Indicative cost: 20,000 | At the mid-point of project implementation. |
| Periodic status/ progress reports | - Project manager and team | None | Quarterly |
| Final Evaluation | - Project manager and team, - UNDP CO - UNDP RCU - External Consultants (i.e. evaluation team) | Indicative cost : 30,000 | At least three months before the end of project implementation |
| Project Terminal Report | - Project manager and team - UNDP CO - local consultant | 0 | At least three months before the end of the project |
| Audit | - UNDP CO - Project manager and team | Indicative cost: 4,000 (1,000 x 4 years) | Yearly |
| Visits to field sites | - UNDP CO - UNDP RCU (as appropriate) - Government representatives | For GEF supported projects, UNDP costs paid from IA fees and operational budget. Indicative cost: 5,000 (non-UNDP parties) | Yearly |
| Dissemination of lessons learnt | - Project Manager and team - Local consultant | Indicative cost: 5,000 | At least three months before the end of the project |
| TOTAL indicative COST Excluding project team staff time and UNDP staff and travel expenses |  | Total: 75,000 approx. (GEF funded, not including co-financing resources) |  |

- Discussing the roles, functions, and responsibilities within the Project's decision-making structure including reporting and communication lines, and conflict resolution mechanisms. The Terms of Reference of project staff will be discussed again as required;

- Finalization of the first annual work plan based on the project results framework and the relevant GEF Tracking Tool if appropriate. A review and agreement on the indicators, targets and their means of verification will be required as well as a re-check of assumptions and risks;

- Providing a detailed overview and reach consensus on reporting, monitoring and evaluation (M&E) requirements, the M&E work plan and budget;

- Discussion of financial reporting procedures and obligations, and arrangements for annual audit;

- Planning and scheduling Project Steering Committee meetings;

- Clarification of roles and responsibilities of all project organization structures as well as planned dates of meetings where the first PSC meeting should be held within the first 12 months following the inception workshop.

- An Inception Workshop report is a key reference document and must be prepared and shared with participants to formalize various agreements and plans decided during the meeting.

- Quarterly Progress Report: Contents of the QPR include:

- Progress made as reported in the Standard Progress Report and monitored in the UNDP Enhanced Results Based Management Platform;

- Based on the initial risk analysis submitted, the risk log shall be regularly updated in ATLAS (if applicable otherwise outside ATLAS). Risks become critical when the impact and probability are high;

- Project Progress Reports as generated in the Executive Snapshot and based on the information recorded in Atlas;

- Other ATLAS logs that are used to monitor issues and lessons learned. The use of these functions is a key indicator in the UNDP Executive Balanced Scorecard.

- Annual Project Review /Project Implementation Reports (APR/PIR):  APRs/PIRs are key reports prepared to monitor progress since project start and in particular for the previous reporting period (30 June to 1 July). The APR/PIR combines both UNDP and GEF reporting requirements, and includes, but is not limited to, reporting on the following:

- Progress made toward project objective and project outcomes, each with indicators, baseline data and end-of-project targets (cumulative);

- Project outputs delivered per project outcome (annual);

- Lesson learned/good practice;

- AWP and other expenditure reports;

- Risk and adaptive management;

- ATLAS QPR;

- Portfolio level indicators (i.e. GEF focal area tracking tools) that are used by most focal areas on an annual basis.

- Periodic Monitoring through site visits: UNDP CO and the UNDP RCU staff will conduct visits to project sites based on the agreed schedule in the project's Inception Report/Annual Work Plan to assess first hand project progress. Other members of the Project Board may also join these visits. A Field Visit Report/BTOR will be prepared by the CO and UNDP RCU and will be circulated no less than one month after the visit to the project team and Project Board members.

- Mid-term of project cycle:  The project will undergo an independent Mid-Term Review at the mid-point of project implementation. The Mid-Term Review will determine progress being made toward the achievement of outcomes and will identify course correction if needed. It will focus on the effectiveness, efficiency and timeliness of project implementation; will highlight issues requiring decisions and actions; and will present initial lessons learned about project design, implementation and management. Findings of this review will be incorporated as recommendations for enhanced implementation during the final half of the project’s term. The organization, terms of reference and timing of the mid-term evaluation will be decided after consultation between the parties to the project document. The Terms of Reference for this Mid-term Review will be prepared by the UNDP CO based on guidance from the Regional Coordinating Unit and UNDP-GEF. The management response and the evaluation will be uploaded to UNDP corporate systems, in particular the UNDP Evaluation Office Evaluation Resource Center. The relevant GEF Focal Area Tracking Tools will also be completed during the mid-term evaluation cycle.

- End of Project:  An independent Final/Terminal Evaluation will take place three months prior to the final Project Board meeting and will be undertaken in accordance with UNDP and GEF guidance. The final evaluation will focus on the delivery of the project’s results as initially planned (and as corrected after the mid-term evaluation, if any such correction took place). The final evaluation will look at impact and sustainability of results, including the contribution to capacity development and the achievement of global environmental benefits/goals. The Terms of Reference for this evaluation will be prepared by the UNDP CO based on guidance from the Regional Coordinating Unit and UNDP-GEF.

- The Final Evaluation should also provide recommendations for follow-up activities and requires a management response which should be uploaded to PIMS and to the UNDP Evaluation Office Evaluation Resource Center. The relevant GEF Focal Area Tracking Tools will also be completed during the final evaluation. During the last three months, the project team will prepare the Project Terminal Report. This comprehensive report will summarize the results achieved (objectives, outcomes, outputs), lessons learned, problems met and areas where results may not have been achieved. It will also lay out recommendations for any further steps that may need to be taken to ensure sustainability and replicability of the project’s results.

- Learning and knowledge sharing:  Results from the project will be disseminated within and beyond the Project intervention zone through a number of existing information sharing networks and forums. In addition:

- The Project will participate, as relevant and appropriate, in UNDP/GEF sponsored networks, organized for senior personnel working on projects that share common characteristics;

- The project will identify and participate, as relevant and appropriate, in scientific, policy-based and/or any other networks, which may be of benefit to project implementation though lessons learned.

- The Project will identify, analyze, and share lessons learned that might be beneficial in the design and implementation of similar future projects. Identifying and analyzing lessons learned is an on-going process and the need to communicate such lessons as one of the project's central contributions is a requirement to be delivered not less frequently than once every 12 months. UNDP/GEF shall provide a format and assist the project team in categorizing, documenting and reporting the lessons learned. To this end a percentage of project resources will also need to be allocated for these activities.

# LEGAL CONTEXT

- This Project Document shall be the instrument referred to as such in Article I of the Standard Basic Assistance Agreement (SBAA), the Government of Barbados and the United Nations Development Program, signed by the parties on 17 November 1993. The host country-implementing agency shall, for the purpose of the SBAA, refer to the government co-operating agency described in that Agreement.

- Consistent with the Article III of the SBAA, the responsibility for the safety and security of the implementing partner and its personnel and property, and of UNDP’s property in the implementing partner’s custody, rests with the implementing partner. The implementing partner shall:

- Put in place an appropriate security plan and maintain the security plan, taking into account the security situation in the country where the project is being carried;

- Assume all risks and liabilities related to the implementing partner’s security, and the full implementation of the security plan.

- UNDP reserves the right to verify whether such a plan is in place, and to suggest modifications to the plan when necessary. Failure to maintain and implement an appropriate security plan as required hereunder shall be deemed a breach of this agreement.

- The implementing partner agrees to undertake all reasonable efforts to ensure that none of the UNDP funds received pursuant to the Project Document are used to provide support to individuals or entities associated with terrorism and that the recipients of any amounts provided by UNDP hereunder do not appear on the list maintained by the Security Council Committee established pursuant to resolution 1267 (1999). The list can be accessed via: http://www.un.org/Docs/sc/committees/1267/1267ListEng.htm. This provision must be included in all sub-contracts or sub-agreements entered into under this Project Document.

- ANNEXURES

# Annex I:   Risk Analysis

OFFLINE RISK LOG

| Project Title: Disaster Risk & Energy Access Management (DREAM) | Project ID: | Date: |
| --- | --- | --- |

| # | Description | Date Identified | Type | Impact & Probability | Countermeasures / Management Response | Owner | Submitted, updated by | Last Update | Status (compared with previous evaluation) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Terms and conditions for replication phase are not sufficiently attractive for private investors (IPPs) |  | Political | P = 1 I = 5 | The Project will be designed to minimize the risk profile of RET projects in Barbados, specifically solar PV rooftop installations that are deemed to have a higher probability of success for demonstration and replication. The Project will reduce the risk profile of these RE installations through two modalities: a) solar PV panels are procured and operated by private property owners who can recover their investment through a net billing mechanism; or b) solar PV panels are installed by BL&P on private rooftops that are leased to BL&P. To sustain the growth of RE deployment, the Project will also strengthen local capacity on RE issues; assist in improving the licensing terms and conditions for RE private investors (including attractive tariffs, lease arrangements, off-take and payment guarantees); and improve the financial climate for RE investments. RE projects will be developed as a partnership between project proponents and the GoB. | Project manager | Submitted by Project Proponent, updated by Project Manager |  |  |
| 2 | Delays due to lack of government capacity |  | Political | P = 4 I = 5 | The Project is designed for implementation by the DoET, whose mandate is to promote renewable energy project development in Barbados. Capacity building efforts of the Project will strengthen the DoET and BL&P in their capacity to promote development of RE in Barbados. | Project manager | Submitted by Project Proponent, updated by Project Manager |  |  |
| 3 | Insufficient capital made available for RE investment scale-up |  | Financial | P = 3 I = 4 | Implementation of pilot projects will demonstrate to potential RE investors that RE projects can be successfully implemented in Barbados, raising the confidence of financial institutions to avail capital financing through carbon funds or NAMA financing. Moreover, the economics of developing a rooftop solar PV programme appears to be attractive, thus increasing the probabilities of its successful scale-up. | Project manager | Submitted by Project Proponent, updated by Project Manager |  |  |
| 4 | Returns on investment not realized due to RETs or RE projects not generating sufficient renewable energy |  | Technical | P = 3 I = 5 | The Project will provide quality control assistance to RE project and operational personnel on international standards and best practices for RE deployment that will ensure maximum power generation and return of investment, and to procure RE equipment that have performance guarantees and technical support from suppliers and manufacturers. The Project will also strengthen linkages with FTC, the Barbadian energy regulatory authority to provide guidelines and enforcement mechanisms to ensure that the delivery of electricity from RE sources follows best international practices. | Project manager | Submitted by Project Proponent, updated by Project Manager |  |  |
| 5 | Lack of coordination amongst various stakeholders and partners with various energy, climate change and disaster risk management roles and responsibilities in Barbados |  | Institutional | P = 3 I = 3 | The project will ensure the coordination and integration of support to energy, climate change and disaster risk management activities by hosting the project at the Office of the Prime Minister. Its Energy and Telecommunications Division –through the Energy Conservation and Renewable Energy (ECRE) unit– will liaise with key stakeholders. These included the Ministry of Environment and Drainage (overseeing GEF-financed climate change mitigation enabling activities), with the ECRE unit being a member of the national climate change and GEF committees; the Ministry of Finance (as executing partner of the IADB-supported sustainable energy framework project); and, the Department of Emergency Management of Barbados). |  |  |  |  |
| 6 | The project will ensure the coordination and integration of support to energy, climate change and disaster risk management activities by hosting the project at the Office of the Prime Minister. Its Energy and Telecommunications Division –through the Energy Conservation and Renewable Energy (ECRE) unit– will liaise with key stakeholders. These included the Ministry of Environment and Drainage (overseeing GEF-financed climate change mitigation enabling activities), with the ECRE unit being a member of the national climate change and GEF committees; the Ministry of Finance (as executing partner of the IADB-supported sustainable energy framework project); and, the Department of Emergency Management of Barbados). |  | Environmental | P = 5 I = 5 | The climate resilience of the proposed solar photovoltaic installations will be addressed by ensuring that the design and installation of the systems places emphasis on their ability to withstand extreme conditions. Project implementation will primarily target public buildings and infrastructure expected to be used as shelter during extreme weather events (e.g. hurricanes, cyclones, storms). The proposed solar PV installations will be an integral part of the disaster risk management activities led by the Office of the Prime Minister. It is expected that their backup support and emergency function will help spread the use of solar photovoltaic as another means of climate change adaptation for the population of Barbados, particularly as the occurrence of extreme events increases. |  |  |  |  |

Submitted by Project Manager ________________		           		Approved by UNDP Programme Analyst ______________

# Annex II:   Detailed CO2 Calculations and Assumptions (See separate file)

- Baseline GHG Emissions from Barbados

These consist of the BL&P’s fossil fuel power generation only; the potential for VRE growth without the Project is close to zero due to the fact that the VRE ceiling imposed by BL&P of 10% is almost saturated.  While BL&P may increase this ceiling based on their own grid stability assessment, the results of their study are likely to conclude that there is little scope for VRE injection in the near future.  This is the rationale for an independent grid assessment study to be completed.

- Direct Emission Reductions

The direct emission reductions during the proposed 3-year duration of the Project include:

- Direct Project investments (Output 3.3):

- 100 kWp of rooftop solar PV installations on 40 community and resource centers under MoSCCESD;

- 50 kWp of rooftop solar PV installations on 10 polyclinics under the Ministry of Health government to own solar PV panels for electricity generation and sale to the grid;

- Co-financed investments:

- 150 kWp of solar PV on the gymnasium

- 450 kW of solar PV at each of the 3 Water Authority sites (3 x 150 kWp

- 75 kW of solar PV on 30 schools (30 x 2.5 kWp);

- Installation of 10 MW of solar PV for government rooftops under a PPP arrangement

- Direct Emission Reductions

Direct post-project emission reductions will also generate emission reductions after completion of the Project from:

- The aforementioned solar PVs on community and resources centers as well as polyclinics that were installed during the Project period;

- RETs that would benefit from technical assistance from the Project that only include (for the purposes of estimating GHG reductions) installation of 7.5 MW of solar PV for government rooftops under a PPP arrangement.  The grid stability analysis from Output 1.1 will determine if this investment can be completed without the risk of grid instability.  The other solar-PV installations deployments, the 150 kWp of solar PV on the gymnasium, the 450 kW of solar PV at each of the 3 Water Authority sites (3 x 150 kWp), and the 75 kW of solar PV on 30 schools (30 x 2.5 kWp), would be implemented even in the absence of the Project and given that their installed capacities are small enough to not warrant any issues regarding high rate of VRE injection and grid stability issues.

- Indirect Emission Reductions

These are estimated using the GEF Manual for guidance on top-down and bottom-up factors. The calculations and assumptions are shown and shared in a separate spreadsheet.

# Annex III: Grid Stability Study

III-1. Introduction

The BL&P system is an island grid consisting of generation, transmission and distribution with a customer base of over 125,000 customers. There are 16 generators consisting of 2 steam units, 6 gas turbines, 6 low speed diesels and 2 co-generation units. The total installed capacity is 239.1 MW, with a peak demand in 2012 of 157.4 MW. There are 16 major transmission / distribution substations and 1 minor transmission / distribution substation. The BL&P transmission system consists of 69 kV and 24 kV circuits with a combination of both overhead and underground installations. The main distribution voltage is 11 kV with three distribution circuits at 24 kV. There are fifty-eight 11 kV distribution circuits and two 11 kV station service circuits feeding from the substations. BL&P’s system frequency is 50Hz.

In 2010, BL&P introduced on a pilot basis a renewable energy rider (RER) for connection of distributed solar and wind generators. The pilot period ended in June 2012, at which time BL&P made recommendations to the regulator to make the rider permanent with some modifications. Currently the rider allows systems up to a maximum of 5 kW for residential customers and 150 kW for commercial customers connecting to the grid, if they comply with the technical requirements for RE installations set forth. At the end of April 2013, there were a total of 127 customers on the RER representing approximately 1.7 MW. The RER is dominated by solar PV systems with just one wind system on the program to date.

In July 2010, the Government of Barbados (GoB) completed a study titled ‘Sustainable Energy Framework for Barbados’ (SEFB). The objective of the study was to identify viable investments in renewables and energy efficiency to reduce Barbados’ dependency on fossil fuels and thus reduce energy costs, improve energy security and enhance environmental sustainability. The SEFB report identified indicative targets for renewable energy and energy efficiency (EE) of 29% respectively 22% by 2029.

The electric utility in Barbados (BL&P) is responsible for supplying electrical energy to costumers within technical standards and guidelines and considering reliability of supply. BL&P has the concern that the high penetration of RE in the grid can impact the grid stability or drive up generation costs, since renewable energy generators may be less predictable since the fluctuations of an intermittent resource such as solar can change the voltage and frequency characteristics of electricity very abruptly.

This report aims to provide some recommendations for the energy stakeholders in Barbados in relation to improving the grid stability at low costs and ensuring lower electricity generation costs. In addition, the report introduces some solutions and alternative to mitigate any adverse effect on the grid caused by the high penetration of VRE.

2. Recommendation for VRE Installations

- A general analysis of the PV and wind measurements showed that the island of Barbados has an immense potential for exploiting high share of RE for the electricity generation.  Considering the maturity of PV and wind technologies, they can be advantageous also considering the economic feasibility compared to other VRE technologies.

It is recommended to take advantage of the availability of such potentials in Barbados and move towards advanced stages such as generating electricity from PV and wind technology and supply RE power into the grid with taking into consideration the stability of the grid. It is also recommended to perform a comprehensive cost-benefit analysis of large investments in PV and wind energy by the electric utility (BL&P), so that the implementation of RE can be faster as well as the network operator will have more contribution to the RE implementation.

- In 2010, BL&P issued a guideline document including a group of operational conditions and technical requirements to organize the connection of RE installations in the grid that can be found in (RGIRGS 2010). This initiative is appreciated as a right step in the road to high RE share.

It is highly recommended to spread awareness among customers about the grid connection requirements by providing a description about application procedure and the grid connection requirements manual. This will encourage customers to install renewable generator systems and connect it to the grid considering the requirements, especially when explaining the important and positive impact of the customer cooperation.

- Potential stakeholders should, before they are allowed to connect a generator or inverter to the grid, get certification and approval from the Division of Energy and Telecommunications or the grid operator BL&P after having showed compliance to the grid codes, which for that reason should be amended to reach status of best practice and modern industry standards. Such standards ensure minimum impact on the grid at maximum VRE penetration, and enable the control of the grid operator to maintain a minimum quality of the grid operation. Existing grid codes, therefore, should be refined and enhanced in order to become an optimal tool to reduce negative impacts on the grid in scenarios of high VRE penetration, while maintaining grid stability and reducing generation costs.

- As a recommendation regarding the dispersion of PV in the grid, the homogeneous distribution of PV units in the system is preferable compared to the concentrated installation of PV, since the installation of large PV system can lead to voltage violations and overloading of lines. Nevertheless, an installation of a large PV installation in a studied location, where the grid is very stable and the line capacity is high, is also a valid option. For more certainty, it is recommended to perform accurate simulation with a detailed grid model before installing a large PV system to analyze the impact on the grid.

III-3. Recommendations for Grid Structure

- The transmission grid in Barbados in concentrated in the essential region in the island, since it is conventionally designed for the central generation system. This grid has a radial structure and does not cover large area in Barbados. Considering the distributed generation by VRE, some extension of this grid could be required, especially if a major VRE capacity is installed in a far region from this grid. It should be taken in consideration that the locations of the VRE generation units are based on the RE potential and area availability.

It is recommended to perform estimation of an extension for the transmission grid for long-term scenarios of VRE penetration. This extension should help to connect large VRE systems that are far from the present transmission system efficiently, which leads to less voltage rise, lower grid losses and more reliable connection. It is recommended to perform an analysis to extend the grid considering the cost needed and compare it with the savings that can be achieved. The analysis will require detailed modelling for the grid with different extension options and future scenarios of penetration.

- The distribution grid at the voltage level of 24 kV has a meshed topology based on a mix between radial feeders and ring sections. This type of structure is expected to be stable from voltage and overloading perspective because of the even sharing of currents in the grid. Nonetheless, the grid does not cover the whole area of the island, and thus an extension can be required if high VRE capacity is installed in a far region from this network. Bus-bar “NORTH” is expected to be a week point in this grid, which is far from the main structure of the grid, and also a large area is supplied through this bus-bar. In high VRE penetration scenarios, some overloading in the supplying line and voltage violation can be observed in this bus-bar if no measure is implemented, especially if high VRE capacity is installed in the northern area in Barbados.

It is recommended to perform estimation for the impact of high VRE installation, especially in the northern part of the island. The estimation could highlight the need of grid reinforcement of the 24 kV gird and consider the savings by the increased hosting capacity of VRE, lower losses and more reliable energy supply. Such estimation would require accurate simulations with detailed information about the grid model and the VRE penetration scenarios.

III-4. Recommendations for Grid Stability Analysis

- At any time, a spinning reserve should be guaranteed in the grid to ensure dynamic short-term stability. Each single generation unit has a spinning reserve that is defined as a fraction of its nominal power (e.g., diesel generator may have up to 50% of its power as spinning reserve). For the evaluation of permissible VRE penetration in the island system in Barbados, a detailed analysis of the spinning reserve of all generation units as well as possible reserve in the load side should be performed. This will require detailed information about the generation units and their control parameterization form the network operator (BL&P) in order to analyze this reserve. Such analysis of required minimum spinning reserve, is important particularly for an island grid.

- For further deepen in the grid stability, the three control levels can be analyzed (i.e., primary, secondary and tertiary control). In the higher priority, the primary and secondary control should be analyzed, as the fast reaction of the generation side in the electrical power supply system (EPSS) is not easy to control, and thus the control characteristics of the generation units should be analyzed. For this aim, detailed modelling for the grid and the connected generation units is necessary to be performed through professional power system simulation software. An industry standard is PowerFactory software from the company DIgSILENT, considered an industry standard with professional analysis and simulation capabilities.

- An analysis of the load and frequency profiles based on some example daily profiles delivered by BL&P was performed. This analysis is not totally representative as the profiles do not represent the whole year, and thus, a comprehensive analysis based on more measured profiles for a complete year is required and with high time resolution. Detailed assessment of such profiles is recommended for future project work. For this analysis, more measurements and available data will be required from BL&P.

- To have a primary estimation of possible voltage problems in Barbados, some voltage measurements at critical nodes in the grid are required. Critical nodes can be defined as the far nodes from the substation, where high PV installation is connected. It is not possible to estimate theoretically the potential voltage violations in a complete grid only based on the available information, as the VRE penetration level can only give a general idea on the voltage state in the grid.

A recommendation to have an estimation of voltage problems is the simulation by a power system modelling tool, such as Powerfactory from DIgSILENT. The modelling of the grid would need information about the grid model including lines characteristics, load models, PV distribution, transformers and generators characteristics.

- It is possible that high penetration of renewable energy, such as PV, may require some changes in the traditional protection schemes, such as directional (or bi-directional) relaying, communication based transfer trips, and impedance-based fault-protection schemes.

It is recommended for the future scenarios of high VRE penetration that the impact of the VRE feed-in on the protection systems should be studied using some simulation tools and in cooperation with the supplier of the protection systems in Barbados to estimate the change in the configurations required in high penetration scenarios.

- In high VRE penetration scenarios, especially in peak feed-in hours, it is expected to observe some overloading of some lines or transformers mainly in the low voltage grid level.

It is recommended to perform evaluations of the overloading problem using detailed modelling for accurate results and also in regular time intervals to have monitoring of this serious problem. It is also recommended to perform a transparent economic analysis to plan for some grid reinforcement measures that can be performed in high VRE penetration scenarios. Such analysis can help the network operator to adapt the feed-in tariffs considering additional cost for grid reinforcement.

- In high VRE penetration scenarios, especially in peak feed-in hours, it is expected to observe some extra grid losses in some lines or transformers mainly in the low voltage grid level. These losses represent a wasted energy and extra cost for the grid operator.

It is recommended that the network operator estimates the technical grid losses in order to have a strategic plan for the feed-in tariff of the VRE energy. A detailed analysis of technical grid losses should be made as part of future activities. For this analysis, simulations of the grid will be required by means of modelling software, such as DIgSILENT.

- As a main limitation factor for the VRE penetration level, especially for distribution grids, the voltage rise overloading limits should be taken in consideration.

It is recommended to perform an accurate estimation of the hosting capacity, so that a strategic plan can be associated based on the limit. For this estimation, detailed modelling of the grid is required as well as statistical information about each load in the grid; this is necessary to model the lowest load consumption for a worst-case analysis.

III-5. Recommendation for Mitigation Measures

- The smart inverter technology (e.g., for PV systems) is considered in many studies as a cost-free mitigation measure for grid stability problems in high VRE penetration scenarios.

It is recommended that estimation for the impact of those mitigation technologies (i.e., Q(U), constant power factor) is performed for the Barbadian grid in order to investigate the improvements gained by this simple and cheap alternative. After this investigation, the implementation of one strategy can be also required in the installation guidelines of Barbados in relation to the size and impact of a PV Installation.

- The power curtailment of VRE during peak feed-in hours can perform an efficient mitigation for voltage, overloading and frequency problems. Based on several studies in Germany, the power curtailment of 70% of the PV rated power leads to an overall energy reduction of 3% of the energy that could be harnessed without the curtailment along the year. However, this low energy reduction is related to the solar irradiation characteristics for each country.

Therefore, it is recommended to perform a detailed analysis to investigate the energy that can be wasted if the power limitation will be proposed in Barbados, and then analyze the cost reimbursement for the customers. It is also recommended to add this possibility to the installation requirements in Barbados based on the results of the recommended analysis. In addition, it is recommended to include the power curtailment of the wind energy in the suggestion to add more flexibility in mitigating grid stability problems.

- The tap changer control is a classic approach to control voltage at the secondary side of the transformer, and thus avoid voltage violations in the lower voltage level.

It is recommended to estimate the possibility of exploiting the OLTC in the grid by configuring them and adapting the set-values of their controllers to support the voltage stability. Moreover, it is recommended to perform a cost-benefit analysis for installing more OLTCs in the Barbadian grid to evaluate the viability to of this option. For this analysis, detailed simulations and accurate cost estimations in Barbados are required.

- Energy storage is important to introduce flexibility and reliability in any EPSS, and thus can reduce voltage violations, overloading and frequency instability.

It is recommended that a detailed cost-benefit analysis is performed in order to define some incentives for small battery implementation by the customers (e.g., capacity of kWh). In addition, estimation for the installation of large storages (e.g., capacity of MWh) for the grid stability in the Barbadian grid should be performed, given different future scenarios of VRE penetration.

It is also recommended to start considering some adaptation to the installation requirements (guidelines) in Barbados to consider more installation of batteries by creating some business cases for this implementation.

- Flywheels are short-term storage that can reduce the fluctuation in power, voltage and system frequency and improve the power quality and reliability. In the present technical and economical estimation, the flywheel technology is not mature enough to be implemented in the present scenario or in the short-term future scenarios in Barbados. For long-term future scenarios, a cost-benefit analysis should be performed to estimate the need for such modern technology in the island grid of Barbados.

- Synchronous condenser is a synchronous generator with a nominal power larger than the grid’s peak single load, and is used to provide grid forming properties (master synchronous machine). In this regard, it is recommended to perform an analysis to assess the need for operating some conventional generation units in idle mode instead of keeping them in shut down if the VRE generation can cover the load more economically. Moreover, an economic analysis is necessary to evaluate the operational costs, including fuel cost in this case.

- In the case of high VRE penetration, it is important to encourage the customers to consume energy during the peak feed-in hours (around noon for high PV capacity), since this can lead to better balancing between generation and consumption. The implementation of such mitigation measure requires an overall strategy to advertise for public awareness of the need for the cooperation of the customers. In addition, an economical estimation is necessary to plan for feasible incentives for the user behavior adaptation. Such strategic plan for demand side management (DSM) is recommended for the long-term future scenarios in Barbados.

III-6. Recommendations for Cost Compensation

The cost of electricity in Barbados to end-user consists of several elements, which includes fuel clause adjustment, VAT, generating electricity and utility connection fee. The cost of electricity generation is considered relatively high in Barbados, USD 0.40 to 0.65 / kWh, and it is tied to the fluctuating price of oil.  Figure III-1 shows the increase of cost of fuel clause adjustment in $ / kWh through years.

Figure III-1: Fuel clause adjustment cost from year 2007 to 2013

On the other hand, the cost of generation from renewable energies is significantly less costly compared to conventional power generation. Thus, it is important to shift to renewable energy and reduces dependencies on imported fossil resources. Given the immense solar resource potential, it can be assumed that a kWh of electricity in small roof systems of a few kW may be generated for production costs of about 8-10 US$ct / kWh. Considering storage by battery systems, the unit generation price may be as high has 15-18 US$ct / kWh. Given the substantial wind resource available, with a few multi megawatt wind turbines (2.5-5 MW per unit), electricity could be generated at about 3-5 US$ct / kWh. Although there are some additional costs associated for the grid stability issues by implementing mitigation measures to prevent violations in the grid, the generation cost from renewable energy is still competitive compared to conventional resources. It is expected that the low generation cost of renewable energy (e.g., PV, wind) can compensate for the additional cost for modernizing the grid with new grid integration technology, especially when the cost of fuel continues to increase.

It is recommended to perform estimation for the tendency of cost for renewable energy compared to fuel-based energy to consider future scenarios of cost compensation for the mitigation measures.

III-7. Joint capacity assessment report and development strategy for critical stakeholders

Grid operation is a complex and sensitive matter in Island States. On the one hand is the autonomous, stable and economic operation of a system that is sole responsibility of the grid operator, on the other hand does the latter face an increased need for actions and system insights to maintain stable and economic operation, especially in cases of high proportions of VRE capacity is connected.

Often grid operators tend to avoid unknown changes and stay inert regarding theoretical concepts to change grid operation practices. Assumptions to lose technical control or benefits at increased technical challenges are main reasons.

To be convincing, it is necessary to, in a pragmatic way, implement the opportunities as well as solutions to possible problems and bottlenecks, based on facts, practice and awareness in form of capacity building events, workshops and training. However, prior to starting the implementation of such activity, it is important that all speak the same language and that all envision the same objectives. Therefore several meetings to streamline common objectives and collaboration are necessary.

A useful activity at the commencement is a stakeholder assessment following a procedure of blind exercise, dialogue and feedback. This helps to transparently obtain initial concerns and doubts. Subsequently, the group becomes acquainted with measures that reduce concerns and doubts. Often such concerns and doubts only are based on wrong assumptions, capacity deficits and misinterpretations, which by dialogue and workshops shall be reduced. In the end, the stakeholders share their opinion and the results help to implement recommended actions, tailor-made to the needs and expectations of local critical stakeholders.

III-8. Conclusions

This report introduced several recommendations for increasing the share of renewable energy generation considering the national plans in Barbados to meet the international trend of conversion to sustainable energy and reduction of fossil fuel dependency.

In general, the main limitation reason for not extending plans of high RE penetration scenarios is the issue of grid stability.  As the electric utility in Barbados, BL&P is responsible for supplying electrical energy to costumers within technical standards and guidelines and considering reliability of supply. BL&P has the concern that the high penetration of RE in the grid can impact the voltage regulation and operation of protective devices. Renewable energy generators may also be less predictable since the fluctuations of an variable resource such as solar can change the voltage and frequency characteristics of electricity very abruptly.

On the other hand, for solar PV and other intermitted VRE, existing codes for grid connection should be evaluated and amended; a stakeholder who wants to inject VRE to the grid should ensure that this equipment meets specific minimum standards that ensure that the grid impact is kept at its minimum. Such codes are developed for many industrialized countries with high share of VRE penetration. Many manufacturers of power electronics in the past decade did develop quite a lot of solid and proven components that allow a generator dispatch and electricity injection with lowest impact on the grid. Moreover, even inverter systems and generators were developed, so that during the operation they stabilize the grid considering problems that may be caused in other places. Injection of reactive power by the inverters, on-load tap changers, power curtailment and other mitigation techniques are few characteristics that modern VRE technologies can provide during operation.

The cost of generation from renewable energies is significantly cheaper compared to conventional power generation. Thus, it is important to shift to renewable energy and reduce dependencies on imported fossil resources. Although there are some additional costs associated for the grid stability issues by implementing mitigation measures to prevent violations in the grid, the generation cost from renewable energy maintains its competences compared to conventional resources. It is expected that the low generation cost of renewable energy (e.g., PV, wind) can compensate for the additional cost for modernizing the grid with new grid integration technology, especially when the cost of fuel continues to increase, and thus effectively the increased use of VRE will significantly bring down the electricity generation costs and in the end the electricity tariffs.

The application of mitigation measures can require the cooperation of the customers, for example, they may implement some smart inverter technologies. However, the attractive investment potential for RE is high, given high price of energy and low cost of RE (e.g., PV and wind). As a result, it will be comparatively easy to find a business model that can convince the customers to cooperate in the domain of grid stability, if, and only if the local policy and the legal framework are sound and do enable VRE investments and operation, incorporating BL&P in any step (important technical steps).

As a recommendation to upgrade the RE installation requirements in Barbados, the effect of installing a PV system can be evaluated in advance using a grid modelling software (e.g., DIgSILENT). In case the installation is expected to cause a problem that needs to be mitigated with some additional cost, the customer can contribute to the mitigation cost either by implementing a mitigation measure (e.g., smart inverter application, batteries) or by accepting a reduction in the feed-in tariff to compensate for the network operator. In addition, the estimation of the impact of each VRE installation will require good programming and simulation skills for the crew of the grid operator. Therefore, it is recommended to establish a training course for the specialized employees of the network operator to support them in performing the frequent and regular estimations using the grid modelling software (e.g., DIgSILENT).

Numerous recommendations have been made and one next task of the Project is to implement recommended actions that help to reach the objectives. Most important to mention is the access and technical data collection regarding the grid. Any technical analysis and any scheduling and decisions to be made regarding technical characteristics and modes of operation of the local grid, will need to be based on a solid foundation made up of consistent data, skilled local engineers, technicians and decision makers.

Therefore, some capacity building would need to take place, and results need to be elaborated that in short and medium-term helps the grid operator and local decision makers to govern, operate and plan the grid in an efficient way.  Samples of technical ToRs were, based on a gap-analysis performed, elaborated that do focus on engagement of assistance to reach the objectives. The ToRs are samples and may need to be adapted to UNDP needs. The ToR samples accordingly are contained in Annex VI.

# Annex IV: Preliminary Locations of Community and Resource Centers for 2.5 kWp Solar PV Installations

| No. | Community Center | District |
| --- | --- | --- |
| 1 | Andrew Alleyne | St. Michael |
| 2 | Bathsheba | St. Joseph |
| 3 | Bayville | St. Michael |
| 4 | Baywoods | St. James |
| 5 | Boscobelle |  |
| 6 | Branchbury | St. Joseph |
| 7 | Clapham | St. Michael |
| 8 | Colleton | St. John |
| 9 | Crab Hill (North Stars) | St. Lucy |
| 10 | Eden Lodge | St. Michael |
| 11 | Ellerton | St. George |
| 12 | Emmerton | St. Michael |
| 13 | Gall Hill | St. John |
| 14 | Harold Nurse | St. Michael |
| 15 | Ivy | St. Michael |
| 16 | Jackson | St. Michael |
| 17 | Kendal | St. John |
| 18 | New Orleans | St. Michael |
| 19 | Oistins | Christ Church |
| 20 | Rockfield | St. Lucy |
| 21 | Sargeant’s Village | Christ Church |
| 22 | Sion Hill | St. James |
| 23 | Trents | St. James |
| No. | Resource Center | District |
| 1 | Black Bess | St. Peter |
| 2 | Bonnets | St. Michael |
| 3 | Briar Hall | Christ Church |
| 4 | Bush Hall | St. Michael |
| 5 | Deacons | St. Michael |
| 6 | Drax Hall | St. George |
| 7 | Grazettes | St. Michael |
| 8 | Greens | St. George |
| 9 | Haggatt Hall | St. Michael |
| 10 | Parkinson | St. Michael |
| 11 | Rices | St. Philip |
| 12 | St. Christopher | Christ Church |
| 13 | St. Elizabeth | St. Joseph |
| 14 | St. Marks | St. Philip |
| 15 | Speightstown | St. Peter |
| 16 | Valley | St. George |
| 17 | Weston | St. James |

# Annex V:   Co-Financing Letters

# (attached separately)

# Annex VI:   Terms of Reference for Project Staff and Consultants

      - National Project Coordinator (NPC):

Duties and Responsibilities:  The incumbent will be responsible for implementation of the project, including mobilization of all project inputs, supervision of project staff, consultants and oversight of sub-contractors. The NPC will be the leader of the Project Team (PT) and shall liaise with the government, UNDP, and all stakeholders involved in the project. S/he will be specifically responsible for (a) overall management of the project; (b) work closely with project stakeholders and ensure the project deliveries as per project document and work plan, (c) ensure technical coordination of the project and the work related to legal and institutional aspects; (d) mobilize all project inputs in accordance with UNDP procedures and GEF principles; (e) finalize the ToR for the consultants and subcontractors and coordinate with UNDP Procurement for recruitment, procurement and contracting; (f) supervise and coordinate the work of all project staff, consultants and sub-contractors; (g) ensure proper management of funds consistent with UNDP requirements, and budget planning and control; (h) prepare and ensure timely submission of monthly reports, quarterly consolidated financial reports, quarterly consolidated progress reports, annual, mid-term and terminal reports, and other reports as may be required by UNDP; (i) perform routine monitoring and evaluation functions; (j) submit the progress reports and key issue report to the National Steering Committee; (k) prepare quarterly and annual work plan; (l) provide regular input to UNDP corporate system ATLAS for financial and program management on project progress, financial status and various logs; (m) arrange for audit of all project accounts for each fiscal year; (n) undertake field visit to ensure quality of work; and (o) undertake any activities that may be assigned by UNDP and National Steering Committee.

Qualifications and Experience: The incumbent should have a minimum Bachelor degree in Engineering with MBA/Master degree or Masters in energy/environment or other relevant academic discipline and profession qualifications with at least ten (10) years professional experience at senior level. S/he should have extensive experience and technical ability to manage a large project and a good technical knowledge in the fields related to private sector development, climate change, energy efficiency and institutional development and/or regulatory aspects. S/he must have effective interpersonal and negotiation skills proven through successful interactions with all levels of project stakeholder groups, including senior government officials, financial sectors, private entrepreneurs, technical groups and communities. S/he should have ability to effectively coordinate a complex, multi-stakeholder project and to lead, manage and motivate teams of international and local consultants to achieve results. Good capacities for strategic thinking, planning and management and excellent communication skills in English are essential. Knowledge of UNDP project implementation procedures, including procurement, disbursements, and reporting and monitoring will be an added advantage.

Additional roles and responsibilities may also include:

- Provide a baseline for skills and absorptive capacity within the ECRE and BL&P to promote and regulate RE development;

- Consult with relevant institutions, government officers, and the local consulting industry on RE knowledge gaps within Barbados;

- Design and deliver appropriate training materials and workshops on RE planning, design, implementation, operation and maintenance as well as financing of RE projects.

- Key Short-term Consultants

Detailed TORs of the international consultants will be developed during the Project Inception period, in the first 3 months after project start-up, by the NPC in consultation with UNDP and the implementing partners. The following specialized consultants will be hired from a company under a “contractual services” arrangement:

- International Consultant: Long-Term Assistant Electro-Technical Planning and Evaluation (LTA)

Objective of the consultant:

Grid operation is a complex and sensitive matter in Island States. On the one hand, the grid operator is solely responsible for the autonomous, stable and economic operation of the system; on the other hand, the operator needs to face an increased need for actions and system insights to sustain a stable and economic operation, especially in the case where higher proportions of variable renewable energy capacity are being proposed.

Often grid operators avoid unknown changes and stay inert regarding theoretical concepts to change grid operation practices. Assumptions to lose technical control or benefits at increased technical challenges are main reasons. Changes to grid operations need to be approached in a pragmatic way through training workshops to present solutions to possible problems and bottlenecks based on practical experiences from other grid jurisdictions.

The LTA shall provide technical assistance on these issues to BL&P, DoET and other relevant government personnel.  The objective of this assignment is to identify electro-technical opportunities to overcome potential problems in relation to high penetration scenarios of varying renewable energy (VRE). In addition, this consultancy will provide an assessment of grid stability challenges and validate the applicability of the mitigation measures for grid stability challenges, which are being applied as business as usual or as best available technology in different countries with high penetration of renewable energy.

Duties of the LTA are as follows:

- Assist the UNDP PMU to structure technical objectives based on a gap-analysis and define a strategy on achieving them with a target-oriented approach;

- Conduct workshops with BL&P personnel and other energy stakeholders related to grid planning and operation;

- Assist in preparing a tender for capacity building workshops for learning materials for future grid operation activities enabling high penetration of intermitted renewable energy capacity;

- Assist in preparing the tenders for measurement equipment necessary to obtain data for grid operation and for the analysis of a load profile for a complete year with high time resolution.  The LTA should also define survey activities and parameters for collection of sufficient grid data for a subsequent and comprehensive grid analysis based on modelling and simulations;

- Formulating a dissemination strategy and accordingly preparing brochures, leaflets and poster templates that can be used for information dissemination for the public to promote the solar PV implementation and use of modern PV systems.

Deliverables

- A project planning report regarding technical objectives and development of a strategy to reach objectives in efficient and target-oriented, cost-economic way including a schedule addressing needs for information and tendered results as well as sequence of events;

- Refined technical ToRs of sub-contracted assignments considering the needs expressed by BL&P and other energy stakeholders for grid stability analysis;

- Tender evaluation documents and recommendations;

- Project evaluation after implementation of sub-contracted assignments;

- Printable image formats (native design software format) of at least 300 DPI from posters, brochures and leaflets for promotion of small scale and medium scale integration of modern solar PV systems, alongside with a cost-benefit analysis and brief explanation of technical layouts and show cases.

- International Consultant: Short-Term Assistant Dynamic Load Flow Analysis and GIS Integration (STA)

Objective of the consultancy work:

The objective of the assignment is to perform grid analysis based on dynamic simulation and load flow analysis that considers the entire island grid of Barbados. With the results of the simulation indicating weak grid nodes, decision makers and the network operator can define a planning strategy to operate the electricity system in a technically efficient, cost effective, safe and modern way, make decisions on grid development, and to steer plans for implementation of renewable energy within the grid conditions. BL&P and DoET will provide all necessary data for use in grid analysis software, PowerFactory from DIgSILENT, an industry standard for load flow analysis, grid modelling and grid planning.  The software will be used for imparting best practices on the use of modern grid planning and evaluation software and a GIS steering tool.

Duties of the STA are as follows:

- Desk-review of the electricity system characteristics, and detailed assessment of present grid conditions;

- Prepare a gap analysis and questionnaire for further data needed;

- Travel to Barbados to fill remaining data and information gaps with assistance from the DoET and BL&P

- Perform the dynamic simulation and load flow analysis to evaluate different future scenarios of VRE penetration;

- Enter technical, social and environmental parameters into the GIS software tool;

- Travel to Barbados to provide a 7-day training workshop on the use of DIgSILENT’s PowerFactory software to assigned stakeholders and a 3-day training on the GIS software steering tool.

Deliverables:

- Providing a detailed report and documentation about grid analysis results based on the dynamic simulation and load flow analysis considering several future scenarios of VRE penetration. In addition, several mitigation measures for grid stability should be evaluated

- Providing a training manual for PowerFactory specifically for the data case in Barbados

- Providing a training manual for a comprehensive GIS software

- Providing a license of DIgSILENT’s PowerFactory software

- Providing a license of a comprehensive GIS software

- Training materials in form of hand-outs or PDF presentation materials

- International Consultant: Evaluator for enhancement of grid codes for RE generators (EEGC)

Objective of the consultancy work:

The objective of the assignment is to perform an evaluation and enhancement of national grid codes applicable to local renewable energy generators, to apply best practices in terms of grid stability, protection and operation in environments of increased share of renewable energy penetration.

Barbados needs to take advantage from the lessons learnt in other countries and from the technology available in the market to combine conventional electricity systems with high penetration of intermitted renewable energy. In many countries, high RE capacities of up to 70% are possible as modern power electronics have been applied to these grids as well as to the renewable energy generators dispatching to the grid. The technology is proven, affordable and available. Hence, it is logical to assess the feasibility of the Barbados electricity system to adapt to future challenges and operation.

Duties of the EEGC are as follows:

- Desk-review of the electricity system characteristics;

- Desk-review of the results of the dynamic load flow analysis;

- Desk-review of the existing grid codes;

- Perform a representative analysis on the costs structure of electricity generation and tariffs;

- Travel to Barbados for meeting with BL&P as well as other relevant stakeholders to assess information gaps;

- Perform a loss assessment for non-technical losses (energy robbery);

- Perform a cost-benefit analysis for modern solar PV generation at the household level and industrial level;

- Develop suggestions regarding enhanced grid codes that ensure increased system stability, lower electricity generation costs and efficient operation considering a share of 30% resp. 60% intermitted renewable energy connected;

- Travel to Barbados to provide a 3-day training on recommended grid codes.

Deliverables:

- A report on the representative cost analysis of local electricity generation costs and tariffs including assessment of non-technical losses

- Detailed report and documentation about the suggested grid codes for 2 different scenarios

- An analysis about the benefits in the grid when the recommended changes in the grid code are undertaken

- Training materials in form of hand-outs or PDF presentation materials

- International Consultant: Technical assistance and capacity building regarding solar implementation and service (TACB)

Objective of the consultancy work:

In principle, the installation of solar PV is a straight and simple task, if ignoring the complex technology of inverters. However, increasing efficiency through correct connections and assembly as well as maintaining high PV-system efficiency through best operational practices are essential to keep a generator set running for years, efficient and reliable.

Often wrong assembly and mistakes during operation cause malfunctions. Therefore, the correct installation, assembly, operation, maintenance and repair are skills of high importance and value within local solar market exploitation, especially with regards to compliance to grid codes; the installation is not as straight forward as without grid codes. The technologies need to be connected in a correct way as to comply with the grid codes and stability requirements.

Two capacity levels are considered: household levels up to 5 kWp and business size greater than 50 kWp. This covers the entire field of potential stakeholders and users as well as the entire technologic field are covered considering the renewable energy rider in Barbados.  Two training systems shall be installed together, for each capacity level one, representative to cover the most situations in where application of PV may take place.

Duties of the TACB are as follows:

- Prepare two workshops (each capacity level separately) addressing:

  - Theoretical background of power electronics applied within PV systems complying to several grid codes and operational modes;

  - Best practices for the installation of PV systems;

  - Use and interpretation of measurement devices needed during installation of PV systems;

  - Error and fault diagnosis;

  - Technical and economic implementation of storage devices within PV systems;

  - Operation and maintenance practices;

  - Monitoring of PV operation;

  - Leading installation of the two training systems as part of the workshop content and hands-on teaching the practice;

- If needed and in case UNDP tenders or assists tendering of training systems: define the size, scope of delivery, ToRs and evaluating received bids.

Deliverables:

- A guideline about best practices of installation for two capacity levels, including error and fault diagnosis;

- A guideline about best practices for operation and maintenance for two capacity levels, including error and fault diagnosis;

- Training materials in form of hand-outs or PDF presentation materials;

- Technical ToRs regarding the components of the training systems to be sub-contracted;

- Tender evaluation documents and recommendations; and

- Training materials regarding power electronics as components for enhanced solar PV operation in the light of grid code compliance.

- International Consultant: Licensing Expert for Renewable Energy Technologies (LERE)

Objective of the consultancy work:

The objective of this consultancy is to advise the Division of Energy and Telecommunications on the implementation of the proposed Draft Licensing regime of Barbados to reflect the realities of the 2013 Draft Energy Policy of Barbados and the Electricity Act of 2014.

Specific activities will include:

- a review of various legislative and policy documents including energy policy, FTC Rider, Electricity Act, etc. to determine their relevance to the proposed licensing regime;

- aligning licenses with the policy and strategic plans of the GoB on new future growth targets for renewable energy penetration in Barbados;

- categorizing the license by public, commercial, industrial or domestic sector each allocated with a limited designated capacity;

- provisions to subject applicants for licenses to a thorough interview to ensure that all necessary technical and administrated requirements are met and to verify the information stated on the license application form;

- inherently promote the rights and safety of customers as adumbrated through stated conditions;

- ensuring social equity in the distribution of licenses that provides equal opportunities for all strata of society to participate in the uptake of the RE technology notably solar PV;

- promoting environmental preservation and sustainability of the RE installation through a set of conditions that must be adhered to by all suppliers or holders of licenses;

- ensuring that there are foreign suppliers of solar-PV equipment address inclusive growth needs with respect to the local supply chain; and c) ensure that issues regarding youth employment are addressed in a new solar programme in Barbados.  When an application is made for a license, it should state specifically the kind of license that is being requested (i.e. generation or distribution license); this is done to overcome the perception in most Caribbean countries of the word “license” being used as an all-inclusive term that is not specific to what technology is being licensed;

- provision of a fee structure that would encourage or discourage a particular size investment, promote competitiveness, discourage monopoly, and provide a waiver on requirements for investments of a particular size;

- built-in sanctions for blatant violation of the terms and conditions expressed therein.

- Identify gaps to be addressed, (including implementation modalities) that are likely to constrain the effective implementation of the licenses so as to enable the Government of Barbados to increase the share of RE (including solar photovoltaic) to the energy mix.

# Annex VIII: Summary of Ongoing Energy Conservation and Renewable Energy Projects in Barbados

| Name of Project | Objectives | Project Components | Project Cost | Status |
| --- | --- | --- | --- | --- |
| Public Sector Smart Energy Programme | To promote and implement the use of Renewable Energy (RE) and Energy Efficiency (EE) measures | Component 1: Retrofit of government buildings with RE technologies. Component 2: A pilot project and studies for encouraging the use of RE Component 3: Capacity building, institutional strengthening and public awareness. |  | - Financing Agreement and Loan contract signed November 2013. - Conditions Precedent to First Disbursement satisfied and program eligible for disbursement May 15 2014. - Negotiations with Barbados Light and Power complete for retrofit of 25,000 streetlights under Component 1. - Engagement of a LED Street lighting expert consultant to oversee retrofit almost complete. - RE installations and EE retrofits – procurement activity – preparation of tender documents to commence in October 2014 - Project Execution Unit staffed effective September 22, 2014. - Work on Component 2 and 3 also to commence in October 2014 |
| Sustainable Energy Investment Programme (Energy Smart Fund) | To increase the use of viable RE and EE technologies in Barbados | Component One: Executed by the Enterprise Growth Fund Limited (EGFL). Four facilities issue grant (Technical Assistance ), Pilot Consumer Finance, Energy Efficient (EE) Lighting Distribution Facility, and A/C Rebate Trade-In Facility, and one that issues subsidize loans (EE Retrofit and RE Financing. Component Two: The Energy and Telecommunications Division of the P.M’s directly executes Component 2, which consists of a Discretionary Grant Facility providing funding for five facilities in component 1. As well as implementing public awareness and education on RE and EE, as well as monitoring and collecting data on the Smart Fund’s activities. | The programme is funded by a loan of $20 million from the Inter-American Development Bank. | Technical Assistance Facility - To date 24 grants approved in the amount of BBD $330,187.00. BBD 215,280.00 has been disbursed. EE Retrofit and RE Finance Facility - To date ten (10) subsidized loans in the amount of BBD$6.1 million were approved for EE Retrofit and RE Finance Facility, for the installation of (PV) systems and EE retrofit. Approx. BBD$3.8 million has been disbursed so far. Pilot Consumer Finance Facility Two (2) firms have been approved as Pilot Consumer Finance Partners. Grant agreements with EGFL were signed in 2013. To date approx. BBD$470,000 rebates have been given to the public. Project will be launched by year end (2014). Energy Efficient Lighting Facility- The implementation of this facility will depend on the disposal of CFLs lights. Tenders were launched in December of 2013. A/C Rebate Trade-In Facility - Under the A/C Rebate Trade-In facility customers will benefit from 50% rebates on new energy efficient A/C unites that are ODS free A/C units; Project will be launched by year end (2014/2015). Consultancies - Tender process for consultancies for Data Collection and Monitoring System would be completed by January 2015. Preparatory work is continuing. |
| Support to the Sustainable Energy Framework for Barbados | To support the Barbados Sustainable Energy Framework (SEF). | The GEF is designed based on five components: - Preparation of SEFB and capacity building - Policy and Implementation support for EE - Policy and Implementation support for RE - Dissemination of Findings - Project Management | GEF / IDB as Administrator US $1,435,000.00 | Public Awareness The public awareness sub-component was concluded on January 30, 2012. Total expenditure on this sub-component was US $52,200.47. To execute this component a Public Relations consultant was hired to perform services aimed at sensitizing the public on renewable energy and energy awareness matters. Procurement & Installation of CFLs & Power Monitors Under the EE component the project will provide 15,000 CFLs and 3,000 power monitors to 3,000 low and middle income households. In September 2012, 15,000 CFLs were procured. In July 2014, 2000 power monitors were procured. By September 2014 15, 000 CFLs were installed and approx. 700 monitors installed. Procurement & Installation of 28 Photovoltaic Under the RE component the project will supply and install 25 PV systems to households under Lot 2 of the procurement and 3 PV to Government institutions under Lot 2 of the procurement. In January 2014 the contracts for supply and installation were awarded under this component. By September 30, 2014 installation under both lots were completed and the inspection process by the Government Electrical Engineering Department was under way with 5 inspections being completed and approved. |

# Annex IX:   UNDP-GEF Social and Environmental Screening Procedure (SESP)

(attached separately)

http://www.un.org/depts/treasury/ (exchange rate effective August 2008)

http://www.caricom.org/

Sustainable Energy Framework for Barbados, 2010

The Integrated Resource Plan from BL&P reports that this is from three generating stations consisting of steam (40.0MW), low speed diesel (113.1MW) and gas turbines (86.0MW).  The base load steam and low speed diesel units operate on heavy fuel oil (HFO).

Sustainable Energy Framework for Barbados, Final Report—Volume 1 Government of Barbados  Inter-American Development Bank

From CIA World Fact book as accessed from http://www.indexmundi.com/g/g.aspx?c=bb&v=81

Global open-source solar data on http://www.gaisma.com/en/location/bridgetown.html

The principal legislation regulating the supply of electricity is the ELPA, Chapter 278.  The ELPA was revised in 2013 relating to the supply and use of electricity, promoting the generation of electricity from renewable energy and enhancing the security and reliability of the supply of electricity.  Under Section 14(2) of the 2013 ELPA, minimum and maximum amounts may be prescribed for electricity generated from different sources of renewable energy and on different types of premises, whether domestic, commercial or otherwise

ECOFYS. (2009). Energy-policy Framework Conditions for Electricity Markets and Renewable Energies: 16 Country Analyses. Berlin: ECOFYS Germany GmbH

ECLAC. (2009). A Study on Energy Issues in the Caribbean: Potential for Mitigating Climate Change. Port of Spain, Trinidad and Tobago: Ecoonimic Comission for Latin American and the Caribbean: Sub-regional Headquarters

This included specific strategies including an offshore oil drilling programme, a national energy conservation plan, promoting the use of alternative fuels for public service motor vehicles, strengthening the support for solar water heater manufacturers, converting the fuel mix used for electricity generation to natural gas and renewables, setting of RE portfolio standard of 20% by 2026, permitting individuals and businesses to generate electricity from RE sources into the national grid, incentives to promote the use of RE and the establishment of a Waste to Energy Facility.

At the end of 2013, there was only 3 MW of installed capacity of solar PV from the RER programme of BL&P

http://barbadosparliament.com/htmlarea/uploaded/File/Bills/2013/Income%20Tax%20(Amendment)%20Act,%202013..pdf

Listed in http://www.sunnyportal.com/Templates/PublicPagesPlantList.aspx

These were funded from government resources under this programme: http://www.caribbeanelections.com/eDocs/budget/bb_budget/bb_budget_2013.pdf

As of September 2014

Cabinet approved public-private sector project

Statistical Division of the Government of Barbados

http://www.economicaffairs.gov.bb/archive.php?cid=10

http://www.economicaffairs.gov.bb/archive-detail.php?id=277

The 3 other components are the a) Pilot Consumer Finance Facility (Hire Purchase) - US$0.5 million (in revolving loans) designed to provide a loan at below market rates to support low interest hire purchase scheme to approved retailers and finance firms that provide hire purchase for customers such as solar water heater/solar PV companies; b). CFLs Promotion - US$0.5 million (in grants) to create the market demand for CFLs through give away promotions to residential customers of BL&P and other marketing strategies; c) Air Conditioner (A/C) Rebate Trade-In Programme - US$1.5 million (in grants) to provide customers (residential and commercial) with credit worth half the value of a new efficient air conditioning unit in exchange for the old unit and the fund would reimburse the retailer for the rebate given. The retailer would be responsible for destroying and safely disposing of the old unit.

All results can be compiled comprehensively in the GIS software to enable easy localization of the grid and system components and their geographic relation compared to any renewable energy generator attached to the grid. In addition, environmental and social parameters and characteristics can be combined to the grid and RE generator characteristics within the GIS software. The GIS software shall be developed as an essential tool to enable policy (decision) makers, stakeholders and the network operator to steer the geographic development and implementation of RE generators in Barbados in a social, environmental and technically sound way.

This may include “smart-grid technology”

Ibid 21

In the context of this Project, a licence would be issued to authorize someone or an entity to take a particular action within written guidelines.

With the GoB priority of rooftop solar-PV installations, there is a need to ensure the quality of RE installations meets best international practices.  To date, however, there are an insufficient number of rooftop solar-PV installations on which to design a licensing regime for a scaled-up program of solar-PV installations that comply with international standards for service life and consistent quality. This could best be served by assisting GoB to incorporate specific clauses in their licenses to: a) ensure best quality of solar-PV rooftop installations; b) ensure that there are foreign suppliers of solar-PV equipment address inclusive growth needs with respect to the local supply chain; and c) ensure that issues regarding youth employment are addressed in a new solar programme in Barbados

Germany, Canada and France could serve as examples

Typically, in developed countries like Germany and Italy, permits are issued at the level of building the plants.  In Germany, almost all plants require some form of public licence which is issued on the grounds of plant type.  Usually permits are issued by different authorities and not necessarily by one central body.  In both countries, the licensing system may require an impact assessment to be conducted as part of the licensing procedure (European renewable energy incentive guide – Germany, January 2013).  In France, the construction of a power plant is also subject to the issuance of a building permit or licence.  However, solar power plants (subject to certain conditions) and wind turbines smaller than 12 meters are not subject to the issuance of a building permit. In Italy there is a relatively simple authorisation process for solar-PV plants exceeding 20kW and wind farm exceeding 1MW in capacity (Taxes and incentives for renewable energy KPMG International September, 2013). In other words, the conditions governing the issuance of a licence are contingent on the type of technology to be applied and the provisions in the Act that govern the licence.

Grid emission factor for Barbados assumed to be 0.876 tonnes CO2e/MWh

This is the direct emissions reduction computed per year assuming a 33% load factor

This is the cumulative direct emission reductions for the estimated project life (10 for off-grid PV)

A causality factor of 40% indicates “modest” influence of the Project

Objective (Atlas output) monitored quarterly ERBM  and annually in APR/PIR

Lifetime direct emission reductions assuming a grid emissions factor of 0.876 tonnes CO2eq/MWh

Based on 6.8% of expected share of RE into country mix (100% electricity access rate of 273,000 population per IRENA Barbados country profile).

This is based on the addition of 3.325 MW into the national Barbados grid to the expected 12.92 MW of installed capacity in the year 2015 (out of 239.1 MW total installed capacity); thus, including the rooftop solar PV installations for community/resource centres (40 x 2.5kWp), polyclinics (10 x 5kWp), and those installations listed on Para 45 with the exception that only 2.5 out of 10 MW of solar PV for government building rooftops will be installed during the GEF-funded phase of the Project

All outcomes monitored annually in the APR/PIR.

Contents to meet the strategic plan for RE development in Barbados is provided under Output 1.2

This would include meeting the terms of reference as described in Output 1.1

To be implemented under an IDB-TA

Ibid 35

Based on 7.5 out of the 10 MW of solar PV is in planning stages at EOP.

Assumes USD 4,500/kW installed