WB PCN P144678

Improving Rural Energy Access in Lagging States

Reviewed by David Rodgers, February 21, 2013

Concurred by Franck Jesus, February 21, 2013

Summary of GEF Comments

The proposed project concept will use $14 million of GEF funding coupled with $14 million of co-financing from the Ministry of New and Renewable Energy and $14 million from private sector partners to promote sustainable business models for rural energy access in the states of Uttar Pradesh and Bihar. Electrification in rural areas of those states is lagging; together they constitute 60 percent of total access deficit of 311 million people in India. The proposed project is envisaged to be located in Bareilly and Kanauj districts in Uttar Pradesh and Nalanda district in Bihar. The project will promote PPP for delivery of electrical services to clusters of villages through competitive bidding processes. GEF funding will be used for technical assistance and as investment to help leverage financing from private sector partners and local financial institutions.

The GEF reviewed the following documents:

- Project Concept Note (PCN)

- Project Identification Document (PID)

- Integrated Safeguards Data Sheet, concept stage (ISDS)

- Operational Risk Assessment Framework (ORAF)

The GEF will support a positive decision by the World Bank to move forward with this project concept. Technical comments are included below. If these technical comments are acknowledged in the PCN meeting and the meeting minutes, and the PID is corrected, the project concept can be technically cleared for inclusion in a future GEF work program. An updated PID including a GHG estimate and rationale, a corrected and updated GEF annex, and letter of endorsement from the operational focal point should be submitted to allow for CEO clearance and inclusion in a future work program.

Technical Comments on GEF Annex

1) The agency fee is not calculated on the correct basis. Please use 9% for this size of project. The total GEF grant, which should be listed in the endorsement letter, must include project amount, project planning grant if needed, and agency fee.

2) The proposed project management cost (PMC) for GEF amount is too large for this type of project, and should not exceed 5% of the GEF funding sub-total. At the PCN stage, it is not expected that the full extent of project management costs are known, therefore no estimate for PMC is needed. During project design, please develop a cost estimate consistent with GEF guidelines.

3) Co-financing seems low for this type of project which will create new business models. Please work during project design to identify additional sources of co-financing.

4) Based on the PCN description, the GEF believes the project will use a non-grant instrument. Specifically the PCN states the GEF grant may be used for viability gap funding (VGF) or debt. Please correct paragraph E of the GEF Annex. However, it appears that the reflows from the financial investments will stay in country for future investments.

Technical Comments on the PCN

1) For the Proposed PDO/Results

a) The GEF thinks the PDO “To improve the availability and quality of electricity service through public-private partnership models in lagging states” does not capture the essential emphasis on decentralized distributed generation (DDG) and the focus on renewable energy. Consider clarifying changes.

b) The GEF would like to have the team provide a preliminary sense of the targets and ambition, and an estimated amount of energy delivered and GHG emissions avoided. There is a reference to multiple clusters of 10,000 households or more, but more precision is needed. An estimate and brief rationale for that estimate will be needed before CEO clearance into a future work program.

2) The GEF think proposed indicators do not capture DDG aspects of the project. For example, does “new electricity connection” allow only DDG connections, or would this indicator allow traditional grid connections?

3) Regarding indicators, based on the well described approach in the PCN for emphasis on PPP, the GEF would suggest to add an indicator that reflects the engagement of businesses, financial institutions, and other actors needed for a sustainable energy access supply chain. For example, consider something like “No. of businesses accessing financial instrument for DDG installations (No.)” Some thinking on the best indicator may be needed.

4) The GEF participated in a World Bank E-Institute webinar where Mohua Mukherjee presented the A-B-C model that focuses on reducing risks for small private power producers in the off-grid space. It would be helpful during project design if the proposed project intends to address the role for small private power producers or simply focus on micro-grids and community linked home systems. The PCN uses mini-grid in some locations, and micro-grid in others. During project design please incorporate lessons learned and recommendations from Ms. Mukherjee’s work, such as attracting ESCOs as bidders, and clarify on the different sizes of “grids” and community systems.

5) The PCN appropriately notes the importance of monitoring and verification of the VGF. The GEF is counting on the World Bank to implement appropriate systems to ensure that bidders do not “game” the system. The GEF would also welcome an emphasis on debt or shared risk facilities that would allow the GEF funding to leverage additional resources from local financial institutions. The GEF also welcomes financial frameworks that encourage the minimum concessional financing needed to promote deal flow and crowd-in local financial institutions.

6) The GEF welcome potential IFC participation and look forward to description of collaboration as the project design proceeds. For example, the IFC may be able to facilitate appropriate design for power purchase agreements (PPA) which will be essential to help power providers to establish appropriate tariff agreements with commercial/anchor customers.

7) Regarding Component 1.

a) The description of the use of $10 million in GEF funding is very brief. More details are provided in the section under “key risks and issues” and in “financing framework.” The GEF support the concept of using GEF funding for debt, as noted in comment 5, and would encourage more clear description of component 1.

b) In next iterations of the project concept, it would be helpful to see the co-financing amounts in this component.

8) Regarding the use of technical assistance, please see the comments below.

a) component 2.1. The GEF are concerned over the proposed use of GEF technical assistance grant fund for “State level PIU set-up and assistance for staffing.” The GEF see the need for this important activity, but traditionally the GEF does not approve the use of its grant funding for institutional establishment or support. The GEF considers those important baseline activities that should be supported by co-financing. Under the proposed approach, the GEF would be concerned about the ability of the PIU to remain in operation after the grant runs out. Please study if co-financing can be used to provide these resources. Also, please during project design focus on options that could provide sustainable operations for the PIU after the TA is complete. Would the State take over staffing? Could a fee-for-service model be created that would create a sustainable model?

b) component 2.1. IVC staffing/contracting. The same question as in 8a – focus on options that would ensure IVC contracting could be sustainable after the grant funding is complete.

c) component 2.2. Study and analysis of solar pump sets would be valuable as this market is high potential but under-served.

d) However, the telecom tower market has been studied extensively and the GEF recommends a quick literature review during project design which may reduce or eliminate the need for a market study—allowing scarce resources to be used in other parts of the project. See the presentation referenced in question 4.

e) there may be additional types of technical assistance needed to help the innovative pilots come to fruition. During project design other types may be identified and could be considered for funding.

f) The GEF sees the need for innovative technical assistance approaches that are sustainable. Please consider, if possible, the piloting of a technical assistance approach that gets funding through successful projects. For example, a TA provider/contractor could be staked with an initial grant/loan from the GEF/WB project. Then after a successful bidding process, the TA provider receives a payment or fee in proportion to the services provided. In this manner, the TA provider is incentivized to work for successful bids, and receives payments in line with services rendered. All bidders would be notified in advance to include this type of payment as part of a successful bid package. A pilot to test one or more models like this would be extremely beneficial to future WB/IFC/GEF projects in the area of energy access

9) Key Risks and Issues. The PCN does a good job of describing several risks and issues.

a) The GEF notes the major role for partner MNRE which will head the steering committee and bid evaluation committee. The GEF encourage the project design team to include provisions for effective operation of these committees in order to maintain operations as close as possible to the needs of the private sector partners involved.

b) The GEF commends the proposed involvement of community groups to help foster sustainability.

c) Difficulty to access government subsidies and uncertain tariffs (page 6) are identified as barriers, but the project components as described do not seem to clearly target these issues. The GEF believes these important barriers can be addressed by this project. Please clarify during project design.

d) Please note the need for strong coordination to avoid overlap and duplication with other MNRE sponsored projects, including a GEF/UNDP Project #4900, Scale Up of Access to Clean Energy for Rural Productive and Domestic Uses.

10) The proposed date for Quality Enhancement Review (QER) is December 1, 2013, and estimate date of appraisal is January 31, 2014. The GEF would appreciate discussion among the team if the project design can be accelerated without sacrificing quality or innovation in order to put GEF resources to work as quickly as possible. It also may be wise to schedule the QER further in advance of the appraisal date. The GEF looks forward to participating in the QER as much as possible.

10) Regarding the PCN Data Sheet, the GEF notes that the Project Financing Data section shows Total Bank Financing as “14 (GEF).” In other PCN Data Sheets submitted by the Bank, the total bank financing is marked as zero when there is no Bank co-financing. Please check with your colleagues and clarify the proper notation.

Technical Comments on the PID

Comments on the PCN apply to this document.

Technical Comments on the Operational Risk Assessment Framework (ORAF)

Comments on the PCN apply to this document.

Technical Comments on the Integrated Safeguards Data Sheet

Comments on the PCN apply to this document.